{"text_format":"3","workbook":"xls","n_sheets":6,"sheets":["分部分项工程量清单","措施项目清单(一)","措施项目清单(二)","其他项目清单","零星工作项目表","规费和税金清单(合肥)"],"not_rendered":{"external_links":1,"defined_names":6},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"分部分项工程量清单","index":0,"n_rows":35,"n_cols":6,"rows_kept":35,"merged":[[0,0,1,5],[2,0,2,5],[3,0,4,0],[3,1,4,1],[3,2,4,2],[3,3,4,3],[3,4,4,4],[3,5,4,5]],"flags":["formulas_cached_only"]}
["分部分项工程量清单"]
[]
["工程名称:安徽国际会展中心10kV变电系统"]
["序号","项目编码","项  目  名  称","项目特征及工作内容","计量单位","工程数量"]
[]
["1","030210002001","10KV高压专线检测维修","名称:10KV高压专线检测维修\r\n工作内容：10KV高压专线检测维修","km",{"v":8,"d":"8.000"}]
["2","030202002001","真空断路器更换及安装","名称:户内真空断路器更换及安装\r\n型号:VS1（ZN63A） \r\n容量（A）:电流：1250A短路开断电流：31.5KA操作顺序：0-0.3s-CO-180s-CO 操作、电机电压：AC220V\r\n工作内容：更换及安装\r\n支架制作、安装或基础槽钢制作安装\r\n刷油漆","套",{"v":7,"d":"7.000"}]
["3","030202002002","真空断路器更换及安装","名称:户内真空断路器更换及安装\r\n型号:IZM 32  S-2000\r\n工作内容：更换及安装\r\n支架制作、安装或基础槽钢制作安装\r\n刷油漆","台",{"v":2,"d":"2.000"}]
["4","030202002003","真空断路器更换及安装","名称:户内真空断路器更换及安装\r\n型号:IZM 32  S-1600\r\n工作内容：更换及安装\r\n支架制作、安装或基础槽钢制作安装\r\n刷油漆","台",{"v":2,"d":"2.000"}]
["5","030202002004","户内高压真空断路器更换及安装","名称:户内高压真空断路器更换及安装\r\n型号:VS1(ZN63A)\r\n工作内容：更换及安装\r\n支架制作、安装或基础槽钢制作安装\r\n刷油漆","台",{"v":1,"d":"1.000"}]
["6","030202003001","微机保护装置更换及安装","名称:微机保护装置更换及安装\r\n容量（A）:BDP-6230\r\n工作内容：更换及安装\r\n支架制作、安装或基础槽钢制作安装\r\n刷油漆","台",{"v":3,"d":"3.000"}]
["7","030202003002","微机保护装置更换及安装","名称:微机保护装置更换及安装\r\n容量（A）:BDP-6710\r\n工作内容：更换及安装\r\n支架制作、安装或基础槽钢制作安装\r\n刷油漆","台",{"v":2,"d":"2.000"}]
["8","030202003003","微机保护装置更换及安装","名称:微机保护装置更换及安装\r\n容量（A）:BDP-6510\r\n工作内容：更换及安装\r\n支架制作、安装或基础槽钢制作安装\r\n刷油漆","台",{"v":1,"d":"1.000"}]
["9","030202003004","微机保护装置更换及安装","名称:微机保护装置更换及安装\r\n容量（A）:BDP-6310\r\n工作内容：更换及安装\r\n支架制作、安装或基础槽钢制作安装\r\n刷油漆","台",{"v":2,"d":"2.000"}]
["10","030202007001","接地刀更换及安装","名称、型号:接地刀更换及安装\r\n工作内容：更换及安装\r\n支架制作、安装\r\n刷油漆","组",{"v":2,"d":"2.000"}]
["11","030202014001","备用电源自投装置更换及安装","名称、型号:备用电源自投装置更换及安装\r\n规格:JY-CBT\r\n工作内容：更换及安装","套",{"v":1,"d":"1.000"}]
["12","030202014002","壁挂式直流电源更换及安装","名称、型号:壁挂式直流电源更换及安装\r\n规格:JY-CBT\r\n工作内容：更换及安装","套",{"v":1,"d":"1.000"}]
["13","030202014003","双路凝露控制器附加热器更换及安装","名称、型号:双路凝露控制器附加热器更换及安装\r\n规格:L2K（TH额定电压：220V 加热功率：100W、50W\r\n工作内容：更换及安装","套",{"v":12,"d":"12.000"}]
["14","030204019001","低压抽屉维修","名称:低压抽屉维修\r\n型号:300A\r\n工作内容：维修调试","个",{"v":2,"d":"2.000"}]
["15","030204019002","低压抽屉维修","名称:低压抽屉维修\r\n型号:200A\r\n工作内容：维修调试","个",{"v":3,"d":"3.000"}]
["16","030204019003","低压抽屉维修","名称:低压抽屉维修\r\n型号:160A\r\n工作内容：维修调试","个",{"v":3,"d":"3.000"}]
["17","030204019004","低压抽屉维修","名称:低压抽屉维修\r\n型号:100A\r\n工作内容：维修调试","个",{"v":2,"d":"2.000"}]
["18","030204019005","低压抽屉维修","名称:低压抽屉维修\r\n型号:50A\r\n工作内容：维修调试","个",{"v":2,"d":"2.000"}]
["19","030113007001","柴油发电机启动电瓶更换","名称:柴油发电机启动电瓶更换\r\n型号:G120N-MF   12V\r\n工作内容：更换及安装","块",{"v":4,"d":"4.000"}]
["20","030113007002","柴油发电机检测维护保养","名称:柴油发电机检测维护保养\r\n型号:832DFJC      832KW\r\n工作内容：柴油发电机检测维护保养","台",{"v":1,"d":"1.000"}]
["21","030901004001","柜机空调","形式:柜机空调\r\n质量:KFR-120LW\r\n工作内容：安装\r\n软管接口制作、安装\r\n设备支架制作、安装\r\n支架刷油","台",{"v":2,"d":"2.000"}]
["22","030202017001","高压柜检修","名称、型号:高压柜检修\r\n规格:35KV\r\n工作内容：高压柜检修","台",{"v":1,"d":"1.000"}]
["23","030202017002","10KV电缆沟盖板","名称、型号:10KV电缆沟盖板\r\n规格:100*100CM\r\n工作内容：10KV电缆沟盖板安装","块",{"v":1,"d":"1.000"}]
["24","030202017003","10KV电缆加装防护罩","名称、型号:10KV电缆加装防护罩\r\n规格:防护罩：250*50*15cm \r\n工作内容：10KV电缆加装防护罩安装","块",{"v":1,"d":"1.000"}]
["25","030213003001","信号指示灯","名称:信号指示灯\r\n工作内容：安装\r\n接地","套",{"v":22,"d":"22.000"}]
["26","031001002001","电压表更换","名称:电压表更换\r\n工作内容：电压表更换","台",{"v":2,"d":"2.000"}]
["27","030211002001","送配电装置系统","电压等级（kV）:10KV\r\n工作内容：系统调试","系统",{"v":1,"d":"1.000"}]
["28","030211004001","自动投入装置","类型:备用电机自投装置\r\n工作内容：调试","套",{"v":1,"d":"1.000"}]
["29","030211007001","避雷器、电容器","电压等级:10KV以下\r\n工作内容：调试","组",{"v":1,"d":"1.000"}]
["30","030211008001","接地装置","\r\n工作内容：接地电阻测试","系统",{"v":1,"d":"1.000"}]

{"sheet":"措施项目清单(一)","index":1,"n_rows":16,"n_cols":2,"rows_kept":16,"merged":[[0,0,1,1],[2,0,2,1],[3,0,4,0],[3,1,4,1]],"flags":["formulas_cached_only"]}
["措施项目清单"]
[]
["工程名称:安徽国际会展中心10kV变电系统                               第&P页共&S页"]
["序号","项  目  名  称"]
[]
["1","(通用取费)环境保护费 "]
["2","(通用取费)文明施工费 "]
["3","(通用取费)安全施工费 "]
["4","(通用取费)临时设施费 "]
["5","(通用取费)夜间施工费 "]
["6","(通用取费)缩短工期措施费 "]
["7","(通用取费)二次搬运费 "]
["8","(通用取费)已完工程及设备保护费 "]
["9","(通用取费)冬雨季施工增加费 "]
["10","(通用取费)工程定位复测、工程点交、场地清理 "]
["11","(通用取费)生产工具用具使用费 "]

{"sheet":"措施项目清单(二)","index":2,"n_rows":11,"n_cols":5,"rows_kept":11,"merged":[[0,0,1,4],[2,0,2,4],[3,0,4,0],[3,1,4,1],[3,2,4,2],[3,3,4,3],[3,4,4,4]],"flags":["formulas_cached_only"]}
["措施项目清单（二）"]
[]
["工程名称:安徽国际会展中心10kV变电系统                              第&P页共&S页"]
["序号","项  目  名  称","项 目 特 征 及 工 作 内 容","计量单位","工程数量"]
[]
["1","混凝土、钢筋混凝土模板及支架",null,"项",{"v":1,"d":"1.000"}]
["2","脚手架",null,"项",{"v":1,"d":"1.000"}]
["3","垂直运输及超高降效",null,"项",{"v":1,"d":"1.000"}]
["4","施工排水、降水",null,"项",{"v":1,"d":"1.000"}]
["5","二次搬运费",null,"项",{"v":1,"d":"1.000"}]
["6","大型机械设备进出场及安拆",null,"项",{"v":1,"d":"1.000"}]

{"sheet":"其他项目清单","index":3,"n_rows":11,"n_cols":3,"rows_kept":11,"merged":[[0,0,1,2],[2,0,2,2],[3,0,4,0],[3,1,4,1],[3,2,4,2]],"flags":["formulas_cached_only"]}
["其他项目清单"]
[]
["工程名称:安徽国际会展中心10kV变电系统                              第&P页共&S页"]
["序号","项   目   名   称","金额（元）"]
[]
["1","招标人部分",0]
[null,"   预留金",0]
[null,"   材料购置费",0]
["2","投标人部分",0]
[null,"   总承包服务费",0]
[null,"   零星工作项目费",0]

{"sheet":"零星工作项目表","index":4,"n_rows":14,"n_cols":4,"rows_kept":14,"merged":[[0,0,1,3],[2,0,2,3],[3,0,4,0],[3,1,4,1],[3,2,4,2],[3,3,4,3]],"flags":["formulas_cached_only"]}
["零星工作项目表"]
[]
["工程名称:安徽国际会展中心10kV变电系统                              第&P页共&S页"]
["序号","名      称","计量单位","数量"]
[]
["1","人工",null,0]
["1.1",null,null,0]
["1.2",null,null,0]
["2","材料",null,0]
["2.1",null,null,0]
["2.2",null,null,0]
["3","机械",null,0]
["3.1",null,null,0]
["3.2",null,null,0]

{"sheet":"规费和税金清单(合肥)","index":5,"n_rows":20,"n_cols":2,"rows_kept":20,"merged":[[0,0,1,1],[2,0,2,1],[3,0,4,0],[3,1,4,1]],"flags":["formulas_cached_only"]}
["规费和税金清单"]
[]
["工程名称:安徽国际会展中心10kV变电系统                               第&P页共&S页"]
["序号","项  目  名  称"]
[]
["一","规费"]
["1","养老保险费"]
["2","失业保险费"]
["3","医疗保险费"]
["4","生育保险费"]
["5","工伤保险费"]
["6","住房公积金"]
["7","工程排污费"]
["二","税金"]
["8","增值税"]
["9","城市维护建设税"]
["10","教育附加费"]
["11","地方教育附加费"]
["12","水利建设基金"]
["三","合计"]