{"text_format":"3","workbook":"xls","n_sheets":12,"sheets":["1 E.1 分部分项工程量清单计价表","2 附录F 措施项目清单计价表","3 附录G 不可竞争项目清单与计价表","4 H.1 其他项目清单与计价汇总表","5 H.2 暂列金额明细表","6 H.3 专业工程暂估价计价表","7 H.4 计日工表","8 H.5 总承包服务费计价表","9 附录I 税金计价表","10 J.1 材料（工程设备）暂估单价一览表","11 J.2 发包人提供材料（工程设备）一览表","12 J.3 承包人提供材料（工程设备）一览表"],"not_rendered":{"external_links":1,"defined_names":12},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"1 E.1 分部分项工程量清单计价表","index":0,"n_rows":191,"n_cols":14,"rows_kept":191,"merged":[[0,0,0,13],[1,0,1,5],[1,6,1,10],[1,11,1,13],[2,0,4,0],[2,1,4,1],[2,2,4,3],[2,4,4,4],[2,5,4,6],[2,7,4,7],[2,8,2,13],[3,8,4,8],[3,9,4,9],[3,10,3,13],[4,10,4,11],[5,2,5,4],[5,5,5,6],[5,10,5,11],[6,0,7,0],[6,1,7,1],[6,2,7,3],[6,4,7,4],[6,5,7,6],[6,7,7,7],[6,8,7,8],[6,9,7,9],[6,10,7,11],[6,12,7,12],[6,13,7,13],[8,0,9,0],[8,1,9,1],[8,2,9,3],[8,4,9,4],[8,5,9,6],[8,7,9,7],[8,8,9,8],[8,9,9,9],[8,10,9,11],[8,12,9,12],[8,13,9,13],[10,0,11,0],[10,1,11,1],[10,2,11,3],[10,4,11,4],[10,5,11,6],[10,7,11,7],[10,8,11,8],[10,9,11,9],[10,10,11,11],[10,12,11,12],[10,13,11,13],[12,0,13,0],[12,1,13,1],[12,2,13,3],[12,4,13,4],[12,5,13,6],[12,7,13,7],[12,8,13,8],[12,9,13,9],[12,10,13,11],[12,12,13,12],[12,13,13,13],[14,2,14,4],[14,5,14,6],[14,10,14,11],[15,2,15,4],[15,5,15,6],[15,10,15,11],[16,0,17,0],[16,1,17,1],[16,2,17,3],[16,4,17,4],[16,5,17,6],[16,7,17,7],[16,8,17,8],[16,9,17,9],[16,10,17,11],[16,12,17,12],[16,13,17,13],[18,2,18,3],[18,5,18,6],[18,10,18,11],[19,2,19,3],[19,5,19,6],[19,10,19,11],[20,2,20,3],[20,5,20,6],[20,10,20,11],[21,2,21,3],[21,5,21,6],[21,10,21,11],[22,2,22,3],[22,5,22,6],[22,10,22,11],[23,0,23,13],[25,3,25,13],[26,0,26,13],[27,0,27,5],[27,6,27,10],[27,11,27,13],[28,0,30,0],[28,1,30,1],[28,2,30,3],[28,4,30,4],[28,5,30,6],[28,7,30,7],[28,8,28,13],[29,8,30,8],[29,9,30,9],[29,10,29,13],[30,10,30,11],[31,0,32,0],[31,1,32,1],[31,2,32,3],[31,4,32,4],[31,5,32,6],[31,7,32,7],[31,8,32,8],[31,9,32,9],[31,10,32,11],[31,12,32,12],[31,13,32,13],[33,0,35,0],[33,1,35,1],[33,2,35,3],[33,4,35,4],[33,5,35,6],[33,7,35,7],[33,8,35,8],[33,9,35,9],[33,10,35,11],[33,12,35,12],[33,13,35,13],[36,0,37,0],[36,1,37,1],[36,2,37,3],[36,4,37,4],[36,5,37,6],[36,7,37,7],[36,8,37,8],[36,9,37,9],[36,10,37,11],[36,12,37,12],[36,13,37,13],[38,0,39,0],[38,1,39,1],[38,2,39,3],[38,4,39,4],[38,5,39,6],[38,7,39,7],[38,8,39,8],[38,9,39,9],[38,10,39,11],[38,12,39,12],[38,13,39,13],[40,0,41,0],[40,1,41,1],[40,2,41,3],[40,4,41,4],[40,5,41,6],[40,7,41,7],[40,8,41,8],[40,9,41,9],[40,10,41,11],[40,12,41,12],[40,13,41,13],[42,2,42,3],[42,5,42,6],[42,10,42,11],[43,2,43,3],[43,5,43,6],[43,10,43,11],[44,2,44,3],[44,5,44,6],[44,10,44,11],[45,2,45,3],[45,5,45,6],[45,10,45,11],[46,0,46,13],[47,3,47,13],[48,0,48,13],[49,0,49,5],[49,6,49,10],[49,11,49,13],[50,0,52,0],[50,1,52,1],[50,2,52,3],[50,4,52,4],[50,5,52,6],[50,7,52,7],[50,8,50,13],[51,8,52,8],[51,9,52,9],[51,10,51,13],[52,10,52,11],[53,0,54,0],[53,1,54,1],[53,2,54,3],[53,4,54,4],[53,5,54,6],[53,7,54,7],[53,8,54,8],[53,9,54,9],[53,10,54,11],[53,12,54,12],[53,13,54,13],[55,0,56,0],[55,1,56,1],[55,2,56,3],[55,4,56,4],[55,5,56,6],[55,7,56,7],[55,8,56,8],[55,9,56,9],[55,10,56,11],[55,12,56,12],[55,13,56,13],[57,0,58,0],[57,1,58,1],[57,2,58,3],[57,4,58,4],[57,5,58,6],[57,7,58,7],[57,8,58,8],[57,9,58,9],[57,10,58,11],[57,12,58,12],[57,13,58,13],[59,0,60,0],[59,1,60,1],[59,2,60,3],[59,4,60,4],[59,5,60,6],[59,7,60,7],[59,8,60,8],[59,9,60,9],[59,10,60,11],[59,12,60,12],[59,13,60,13],[61,0,62,0],[61,1,62,1],[61,2,62,3],[61,4,62,4],[61,5,62,6],[61,7,62,7],[61,8,62,8],[61,9,62,9],[61,10,62,11],[61,12,62,12],[61,13,62,13],[63,0,64,0],[63,1,64,1],[63,2,64,3],[63,4,64,4],[63,5,64,6],[63,7,64,7],[63,8,64,8],[63,9,64,9],[63,10,64,11],[63,12,64,12],[63,13,64,13],[65,0,65,13],[67,3,67,13],[68,0,68,13],[69,0,69,5],[69,6,69,10],[69,11,69,13],[70,0,72,0],[70,1,72,1],[70,2,72,3],[70,4,72,4],[70,5,72,6],[70,7,72,7],[70,8,70,13],[71,8,72,8],[71,9,72,9],[71,10,71,13],[72,10,72,11],[73,0,74,0],[73,1,74,1],[73,2,74,3],[73,4,74,4],[73,5,74,6],[73,7,74,7],[73,8,74,8],[73,9,74,9],[73,10,74,11],[73,12,74,12],[73,13,74,13],[75,0,76,0],[75,1,76,1],[75,2,76,3],[75,4,76,4],[75,5,76,6],[75,7,76,7],[75,8,76,8],[75,9,76,9],[75,10,76,11],[75,12,76,12],[75,13,76,13],[77,0,78,0],[77,1,78,1],[77,2,78,3],[77,4,78,4],[77,5,78,6],[77,7,78,7],[77,8,78,8],[77,9,78,9],[77,10,78,11],[77,12,78,12],[77,13,78,13],[79,0,80,0],[79,1,80,1],[79,2,80,3],[79,4,80,4],[79,5,80,6],[79,7,80,7],[79,8,80,8],[79,9,80,9],[79,10,80,11],[79,12,80,12],[79,13,80,13],[81,0,83,0],[81,1,83,1],[81,2,83,3],[81,4,83,4],[81,5,83,6],[81,7,83,7],[81,8,83,8],[81,9,83,9],[81,10,83,11],[81,12,83,12],[81,13,83,13],[84,0,84,13],[85,3,85,13],[86,0,86,13],[87,0,87,5],[87,6,87,10],[87,11,87,13],[88,0,90,0],[88,1,90,1],[88,2,90,3],[88,4,90,4],[88,5,90,6],[88,7,90,7],[88,8,88,13],[89,8,90,8],[89,9,90,9],[89,10,89,13],[90,10,90,11],[91,0,92,0],[91,1,92,1],[91,2,92,3],[91,4,92,4],[91,5,92,6],[91,7,92,7],[91,8,92,8],[91,9,92,9],[91,10,92,11],[91,12,92,12],[91,13,92,13],[93,2,93,4],[93,5,93,6],[93,10,93,11],[94,2,94,4],[94,5,94,6],[94,10,94,11],[95,0,96,0],[95,1,96,1],[95,2,96,3],[95,4,96,4],[95,5,96,6],[95,7,96,7],[95,8,96,8],[95,9,96,9],[95,10,96,11],[95,12,96,12],[95,13,96,13],[97,2,97,3],[97,5,97,6],[97,10,97,11],[98,0,99,0],[98,1,99,1],[98,2,99,3],[98,4,99,4],[98,5,99,6],[98,7,99,7],[98,8,99,8],[98,9,99,9],[98,10,99,11],[98,12,99,12],[98,13,99,13],[100,0,101,0],[100,1,101,1],[100,2,101,3],[100,4,101,4],[100,5,101,6],[100,7,101,7],[100,8,101,8],[100,9,101,9],[100,10,101,11],[100,12,101,12],[100,13,101,13],[102,2,102,3],[102,5,102,6],[102,10,102,11],[103,2,103,3],[103,5,103,6],[103,10,103,11],[104,0,104,13],[106,3,106,13],[107,0,107,13],[108,0,108,5],[108,6,108,10],[108,11,108,13],[109,0,111,0],[109,1,111,1],[109,2,111,3],[109,4,111,4],[109,5,111,6],[109,7,111,7],[109,8,109,13],[110,8,111,8],[110,9,111,9],[110,10,110,13],[111,10,111,11],[112,2,112,3],[112,5,112,6],[112,10,112,11],[113,0,114,0],[113,1,114,1],[113,2,114,3],[113,4,114,4],[113,5,114,6],[113,7,114,7],[113,8,114,8],[113,9,114,9],[113,10,114,11],[113,12,114,12],[113,13,114,13],[115,2,115,4],[115,5,115,6],[115,10,115,11],[116,2,116,4],[116,5,116,6],[116,10,116,11],[117,0,118,0],[117,1,118,1],[117,2,118,3],[117,4,118,4],[117,5,118,6],[117,7,118,7],[117,8,118,8],[117,9,118,9],[117,10,118,11],[117,12,118,12],[117,13,118,13],[119,0,120,0],[119,1,120,1],[119,2,120,3],[119,4,120,4],[119,5,120,6],[119,7,120,7],[119,8,120,8],[119,9,120,9],[119,10,120,11],[119,12,120,12],[119,13,120,13],[121,2,121,3],[121,5,121,6],[121,10,121,11],[122,0,123,0],[122,1,123,1],[122,2,123,3],[122,4,123,4],[122,5,123,6],[122,7,123,7],[122,8,123,8],[122,9,123,9],[122,10,123,11],[122,12,123,12],[122,13,123,13],[124,2,124,4],[124,5,124,6],[124,10,124,11],[125,2,125,4],[125,5,125,6],[125,10,125,11],[126,2,126,3],[126,5,126,6],[126,10,126,11],[127,2,127,3],[127,5,127,6],[127,10,127,11],[128,0,128,13],[130,3,130,13],[131,0,131,13],[132,0,132,5],[132,6,132,10],[132,11,132,13],[133,0,135,0],[133,1,135,1],[133,2,135,3],[133,4,135,4],[133,5,135,6],[133,7,135,7],[133,8,133,13],[134,8,135,8],[134,9,135,9],[134,10,134,13],[135,10,135,11],[136,0,137,0],[136,1,137,1],[136,2,137,3],[136,4,137,4],[136,5,137,6],[136,7,137,7],[136,8,137,8],[136,9,137,9],[136,10,137,11],[136,12,137,12],[136,13,137,13],[138,0,139,0],[138,1,139,1],[138,2,139,3],[138,4,139,4],[138,5,139,6],[138,7,139,7],[138,8,139,8],[138,9,139,9],[138,10,139,11],[138,12,139,12],[138,13,139,13],[140,2,140,4],[140,5,140,6],[140,10,140,11],[141,2,141,4],[141,5,141,6],[141,10,141,11],[142,0,143,0],[142,1,143,1],[142,2,143,3],[142,4,143,4],[142,5,143,6],[142,7,143,7],[142,8,143,8],[142,9,143,9],[142,10,143,11],[142,12,143,12],[142,13,143,13],[144,2,144,3],[144,5,144,6],[144,10,144,11],[145,0,146,0],[145,1,146,1],[145,2,146,3],[145,4,146,4],[145,5,146,6],[145,7,146,7],[145,8,146,8],[145,9,146,9],[145,10,146,11],[145,12,146,12],[145,13,146,13],[147,2,147,3],[147,5,147,6],[147,10,147,11],[148,2,148,3],[148,5,148,6],[148,10,148,11],[149,2,149,3],[149,5,149,6],[149,10,149,11],[150,2,150,3],[150,5,150,6],[150,10,150,11],[151,0,151,13],[153,3,153,13],[154,0,154,13],[155,0,155,5],[155,6,155,10],[155,11,155,13],[156,0,158,0],[156,1,158,1],[156,2,158,3],[156,4,158,4],[156,5,158,6],[156,7,158,7],[156,8,156,13],[157,8,158,8],[157,9,158,9],[157,10,157,13],[158,10,158,11],[159,2,159,3],[159,5,159,6],[159,10,159,11],[160,0,161,0],[160,1,161,1],[160,2,161,3],[160,4,161,4],[160,5,161,6],[160,7,161,7],[160,8,161,8],[160,9,161,9],[160,10,161,11],[160,12,161,12],[160,13,161,13],[162,2,162,3],[162,5,162,6],[162,10,162,11],[163,2,163,4],[163,5,163,6],[163,10,163,11],[164,2,164,3],[164,5,164,6],[164,10,164,11],[165,2,165,3],[165,5,165,6],[165,10,165,11],[166,2,166,3],[166,5,166,6],[166,10,166,11],[167,2,167,3],[167,5,167,6],[167,10,167,11],[168,2,168,3],[168,5,168,6],[168,10,168,11],[169,2,169,3],[169,5,169,6],[169,10,169,11],[170,2,170,3],[170,5,170,6],[170,10,170,11],[171,2,171,3],[171,5,171,6],[171,10,171,11],[172,2,172,3],[172,5,172,6],[172,10,172,11],[173,2,173,3],[173,5,173,6],[173,10,173,11],[174,2,174,3],[174,5,174,6],[174,10,174,11],[175,2,175,3],[175,5,175,6],[175,10,175,11],[176,2,176,3],[176,5,176,6],[176,10,176,11],[177,2,177,3],[177,5,177,6],[177,10,177,11],[178,2,178,3],[178,5,178,6],[178,10,178,11],[179,2,179,3],[179,5,179,6],[179,10,179,11],[180,2,180,3],[180,5,180,6],[180,10,180,11],[181,2,181,3],[181,5,181,6],[181,10,181,11],[182,2,182,3],[182,5,182,6],[182,10,182,11],[183,2,183,3],[183,5,183,6],[183,10,183,11],[184,2,184,3],[184,5,184,6],[184,10,184,11],[185,2,185,3],[185,5,185,6],[185,10,185,11],[186,2,186,3],[186,5,186,6],[186,10,186,11],[187,2,187,3],[187,5,187,6],[187,10,187,11],[188,0,188,13],[190,3,190,13]],"flags":["formulas_cached_only"]}
["E.1 分部分项工程量清单计价表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目装饰工程",{"$nulls":5},"标段：",{"$nulls":4},"第1页 共8页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
[null,"0111","楼地面装饰工程",{"$nulls":4},""]
["1","011104001001","地毯楼地面",null,"1、面层材料品种、规格、颜色：纯羊毛手工编织地毯\n2、未尽事宜详见图纸、答疑及招标文件","m2",null,"122.570"]
[]
["2","011105006001","金属踢脚线",null,"1、踢脚线高度：100mm\n2、面层材料品种、规格、颜色：1.0厚黑钛拉丝不锈钢\n3、未尽事宜详见图纸、答疑及招标文件","m",null,"27.660"]
[]
["3","011102001001","石材楼地面",null,"1、结合层厚度、砂浆配合比或粘接剂种类：30厚1：2水泥砂浆\n2、面层材料品种、规格、颜色：15厚白色石英石\n3、部位：地台","m2",null,"5.940"]
[]
["4","011102001002","石材楼地面",null,"1、结合层厚度、砂浆配合比或粘接剂种类：30厚1：2水泥砂浆\n2、面层材料品种、规格、颜色：20厚黑白根大理石\n3、部位：门槛","m2",null,"0.750"]
[]
[null,null,"分部小计",{"$nulls":4},""]
[null,"0112","墙、柱面装饰",{"$nulls":4},""]
["5","011201001001","墙面一般抹灰",null,"1、底层厚度、砂浆配合比：8厚抗裂砂浆+耐碱网格布\n2、部位：抹灰面贴墙布处\n3、未尽事宜详见图纸、答疑及招标文件","m2",null,"13.720"]
{"$rows_empty":8}
[{"$nulls":3},"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目装饰工程",{"$nulls":5},"标段：",{"$nulls":4},"第2页 共8页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["6","WB011207002001","墙面（轻钢）龙骨",null,"1、龙骨材料种类、规格、中距：75型轻钢龙骨\n2、部位：新增石膏板墙体\n3、未尽事宜详见图纸、答疑及招标文件","m2",null,"157.030"]
[]
["7","WB011207003001","墙面型钢龙骨",null,"1、龙骨材料种类、规格、中距：竖向龙骨50*100*5热镀锌方钢管间距1100，横向龙骨40*40*2热镀锌方钢管间距600mm\n2、部位：背景墙\n3、未尽事宜详见图纸、答疑及招标文件","t",null,"0.979"]
[]
[]
["8","WB011207002002","墙面木龙骨",null,"1、龙骨材料种类、规格、中距：30*30木龙骨，刷防火涂料三遍，防腐三度\n2、未尽事宜详见图纸、答疑及招标文件","m2",null,"16.480"]
[]
["9","WB011207004001","墙面基层",null,"1、基层材料种类、规格：15厚水泥美颜板，刷防火涂料三遍，防腐三度\n2、未尽事宜详见图纸、答疑及招标文件","m2",null,"226.970"]
[]
["10","WB011207004002","墙面基层",null,"1、基层材料种类、规格：岩棉，密度不小于300kg/m3\n2、未尽事宜详见图纸、答疑及招标文件","m2",null,"154.960"]
[]
["11","011207001001","墙面装饰板",null,"1、面层材料种类、规格：12厚石膏板\n2、未尽事宜详见图纸、答疑及招标文件","m2",null,"84.770"]
[]
[]
[]
[]
[{"$nulls":3},"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目装饰工程",{"$nulls":5},"标段：",{"$nulls":4},"第3页 共8页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["12","011207001002","墙面装饰板",null,"1、面层材料种类、规格：15厚白色微晶石（无缝处理），规格见立面图\n2、未尽事宜详见图纸、答疑及招标文件","m2",null,"34.230"]
[]
["13","011207001003","墙面装饰板",null,"1、面层材料种类、规格：15厚白色烤漆面板\n2、环保等级E1级，防火等级见图纸\n3、未尽事宜详见图纸、答疑及招标文件","m2",null,"95.460"]
[]
["14","011207001004","墙面装饰布",null,"1、面层材料品种、规格、品牌、颜色：米灰色亚麻墙布，一体式\n2、未尽事宜详见图纸、答疑及招标文件","m2",null,"13.720"]
[]
["15","011207001005","墙面装饰布",null,"1、面层材料品种、规格、品牌、颜色：白色墙布\n2、部位：背景墙\n3、未尽事宜详见图纸、答疑及招标文件","m2",null,"29.540"]
[]
["16","WB011209008001","干挂铝板墙面",null,"1、金属板材品种、规格、颜色：定制2.5厚穿孔铝板\n2、含铝板挂件、镂空字雕刻、建筑画的雕刻\n3、部位：背景墙\n4、未尽事宜详见图纸、答疑及招标文件","m2",null,"29.540"]
[]
["17","011207001006","墙面装饰板",null,"1、面层材料品种、规格、品牌、颜色：3厚白色铝板\n2、部位：背景墙\n3、未尽事宜详见图纸、答疑及招标文件","m2",null,"6.080"]
[]
[]
[]
[{"$nulls":3},"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目装饰工程",{"$nulls":5},"标段：",{"$nulls":4},"第4页 共8页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["18","011406001001","抹灰面油漆",null,"1、内墙腻子三遍\n2、油漆品种、刷漆遍数：乳胶漆一底二面\n3、部位：内墙面\n4、未尽事宜详见图纸、答疑及招标文件","m2",null,"96.420"]
[]
["19","011406001002","抹灰面油漆",null,"1、基层清理干净\n2、刷清油二遍\n3、部位：抹灰面贴墙布处\n4、未尽事宜详见图纸、答疑及招标文件","m2",null,"13.720"]
[]
["20","011502002001","木质装饰线",null,"1、安装部位：墙面\n2、线条材料品种、规格、颜色：40*100白色实木烤漆线条\n3、防火及环保等级见图纸\n4、未尽事宜详见图纸、答疑及招标文件","m",null,"136.980"]
[]
["21","011502002002","木质装饰线",null,"1、安装部位：墙面\n2、线条材料品种、规格、颜色：80*100白色实木烤漆线条\n3、防火及环保等级见图纸\n4、未尽事宜详见图纸、答疑及招标文件","m",null,"247.120"]
[]
["22","010801002001","木质门带套",null,"1、门代号及洞口尺寸：M1824\n2、白色实木烤漆套装门，带门套，含门洞上方墙面包板报价\n3、含门锁及拉手，门吸，插销\n4、环保等级E1，防火等级见图纸\n5、未尽事宜详见图纸、答疑及招标文件","樘",null,"1.000"]
[]
[]
[]
[{"$nulls":3},"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目装饰工程",{"$nulls":5},"标段：",{"$nulls":4},"第5页 共8页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["23","010801001001","木质门",null,"1、门代号及洞口尺寸：暗门1000*2100\n2、白色实木烤漆门\n3、环保等级E1，防火等级见图纸\n4、未尽事宜详见图纸、答疑及招标文件","m2",null,"2.100"]
[]
[null,null,"分部小计",{"$nulls":4},""]
[null,"0113","天棚工程",{"$nulls":4},""]
["24","WB011302002001","天棚吊筋",null,"1、吊顶形式、吊杆规格、高度：φ8全牙螺杆吊筋，高度详见图纸，含超高转换层\n2、安装固定方式：M8膨胀螺栓","m2",null,"122.570"]
[]
["25","WB011302003001","天棚龙骨",null,"1、龙骨材料种类、规格、中距：50型轻钢龙骨\n2、未尽事宜详见图纸、答疑及招标文件","m2",null,"122.570"]
["26","WB011302003002","天棚龙骨",null,"1、龙骨材料种类、规格、中距：木龙骨30*40，刷防火涂料三遍，防腐三度，防火等级见图纸\n2、部位：灯带，集成带等加固处\n3、未尽事宜详见图纸、答疑及招标文件","m2",null,"23.820"]
[]
["27","WB011302004001","天棚基层",null,"1、基层材料种类、规格：18厚木工板\n2、刷防火涂料三遍，防腐三度，防火等级见图纸\n3、含造型立板平板\n4、未尽事宜详见图纸、答疑及招标文件","m2",null,"84.740"]
[]
[]
[]
[]
[]
[{"$nulls":3},"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目装饰工程",{"$nulls":5},"标段：",{"$nulls":4},"第6页 共8页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["28","WB011302005001","天棚面层",null,"1、面层材料品种、规格：12厚石膏板\n2、未尽事宜详见图纸、答疑及招标文件","m2",null,"157.310"]
["29","011406001003","抹灰面油漆",null,"1、内墙腻子三遍\n2、油漆品种、刷漆遍数：乳胶漆一底二面\n3、部位：内墙面\n4、未尽事宜详见图纸、答疑及招标文件","m2",null,"157.310"]
[]
[null,null,"分部小计",{"$nulls":4},""]
[null,"0115","其他装饰工程",{"$nulls":4},""]
["30","011501020001","沙发",null,"1、材料种类、规格：布艺单人座沙发\n2、规格：1100*900*900\n3、未尽事宜详见图纸、答疑及招标文件","个",null,"18.000"]
[]
["31","011501020002","茶几",null,"1、材料种类、规格：实木茶几\n2、规格：400*600*450\n3、未尽事宜详见图纸、答疑及招标文件","个",null,"17.000"]
[]
["32","011501020003","绿值",null,"1、材料种类、规格：绿植\n2、未尽事宜详见图纸、答疑及招标文件","项",null,"1.000"]
["33","011501020004","窗帘",null,"1、材料种类、规格：窗帘\n2、是净尺寸，投标自行考虑折叠部分的面积报价。\n3、含轨道报价\n4、未尽事宜详见图纸、答疑及招标文件","m2",null,"65.970"]
[]
[null,null,"分部小计",{"$nulls":4},""]
[null,"0117","脚手架工程",{"$nulls":4},""]
[]
[]
[]
[]
[{"$nulls":3},"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目装饰工程",{"$nulls":5},"标段：",{"$nulls":4},"第7页 共8页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["34","011701006001","满堂脚手架",null,"1、搭设方式：投标人自行考虑\n2、脚手架材质：钢管脚手架\n3、未尽事宜详见图纸、答疑及招标文件","m2",null,"122.570"]
[]
["35","011701003001","里脚手架",null,"1、搭设方式：投标人自行考虑\n2、脚手架材质：钢管脚手架\n3、未尽事宜详见图纸、答疑及招标文件","m2",null,"197.810"]
[]
[null,null,"分部小计",{"$nulls":4},""]
[null,"0116","拆除工程",{"$nulls":4},""]
["36","011606002001","墙体拆除",null,"1、墙体材质：砌体，轻质墙体，龙骨及饰面板等，投标自行考查现场报价\n2、未尽事宜详见图纸、答疑及招标文件","m2",null,"222.820"]
[]
["37","011610001001","门窗拆除",null,"1、材质：投标自行考查现场报价\n2、未尽事宜详见图纸、答疑及招标文件","m2",null,"4.320"]
["38","011605001001","平面块料拆除",null,"1、拆除的基层类型：投标自行考查现场报价\n2、饰面材料种类：石材\n3、未尽事宜详见图纸、答疑及招标文件","m2",null,"0.950"]
[]
["39","011608001001","铲除油漆面",null,"1、铲除部位名称：投标自行考查现场报价\n2、未尽事宜详见图纸、答疑及招标文件","m2",null,"22.700"]
["40","011604002001","立面抹灰层拆除",null,"1、拆除部位：投标自行考查现场报价\n2、未尽事宜详见图纸、答疑及招标文件","m2",null,"22.700"]
[]
[]
[]
[]
[{"$nulls":3},"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目装饰工程",{"$nulls":5},"标段：",{"$nulls":4},"第8页 共8页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["41","011606003001","天棚面龙骨及饰面拆除",null,"1、龙骨及饰面种类：投标方自行勘察现场报价\n2、未尽事宜详见图纸、答疑及招标文件","m2",null,"157.000"]
["42","011614002001","其他拆除",null,"1、管线，灯具，开关，插座等强弱电需拆除的，家具沙发茶几，窗帘等\n2、投标方自行勘察现场报价","项",null,"1.000"]
[]
["43","WB011614004001","建筑垃圾外运",null,"1、运距：投标方自行勘察现场报价，含渣土费，堆场费等所有费用","项",null,"1.000"]
[null,null,"分部小计",{"$nulls":4},""]
{"$rows_empty":26}
[{"$nulls":3},"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]

{"sheet":"2 附录F 措施项目清单计价表","index":1,"n_rows":43,"n_cols":9,"rows_kept":43,"merged":[[0,0,0,8],[1,0,1,3],[1,4,1,6],[1,7,1,8],[2,1,2,2],[2,3,2,4],[2,6,2,7],[3,1,3,2],[3,3,3,4],[3,6,3,7],[4,1,4,2],[4,3,4,4],[4,6,4,7],[5,1,5,2],[5,3,5,4],[5,6,5,7],[6,1,6,2],[6,3,6,4],[6,6,6,7],[7,1,7,2],[7,3,7,4],[7,6,7,7],[8,1,8,2],[8,3,8,4],[8,6,8,7],[9,1,9,2],[9,3,9,4],[9,6,9,7],[10,1,10,2],[10,3,10,4],[10,6,10,7],[11,1,11,2],[11,3,11,4],[11,6,11,7],[12,1,12,2],[12,3,12,4],[12,6,12,7],[13,1,13,2],[13,3,13,4],[13,6,13,7],[14,1,14,2],[14,3,14,4],[14,6,14,7],[15,1,15,2],[15,3,15,4],[15,6,15,7],[16,1,16,2],[16,3,16,4],[16,6,16,7],[17,1,17,2],[17,3,17,4],[17,6,17,7],[18,1,18,2],[18,3,18,4],[18,6,18,7],[19,1,19,2],[19,3,19,4],[19,6,19,7],[20,1,20,2],[20,3,20,4],[20,6,20,7],[21,1,21,2],[21,3,21,4],[21,6,21,7],[22,1,22,2],[22,3,22,4],[22,6,22,7],[23,1,23,2],[23,3,23,4],[23,6,23,7],[24,1,24,2],[24,3,24,4],[24,6,24,7],[25,1,25,2],[25,3,25,4],[25,6,25,7],[26,1,26,2],[26,3,26,4],[26,6,26,7],[27,1,27,2],[27,3,27,4],[27,6,27,7],[28,1,28,2],[28,3,28,4],[28,6,28,7],[29,1,29,2],[29,3,29,4],[29,6,29,7],[30,1,30,2],[30,3,30,4],[30,6,30,7],[31,1,31,2],[31,3,31,4],[31,6,31,7],[32,1,32,2],[32,3,32,4],[32,6,32,7],[33,1,33,2],[33,3,33,4],[33,6,33,7],[34,1,34,2],[34,3,34,4],[34,6,34,7],[35,1,35,2],[35,3,35,4],[35,6,35,7],[36,1,36,2],[36,3,36,4],[36,6,36,7],[37,1,37,2],[37,3,37,4],[37,6,37,7],[38,1,38,2],[38,3,38,4],[38,6,38,7],[39,1,39,2],[39,3,39,4],[39,6,39,7],[40,0,40,7],[42,2,42,8]],"flags":["formulas_cached_only"]}
["附录F 措施项目清单与计价表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目装饰工程",{"$nulls":3},"标段：",null,null,"第1页 共1页"]
["序号","项目编码",null,"项目名称",null,"计算基础","费率（%）",null,"金额（元）"]
["1","ZC-01",null,"夜间施工增加费",null,null,"0.500"]
["2","ZC-02",null,"二次搬运费",null,null,"1.200"]
["3","ZC-03",null,"冬雨季施工增加费",null,null,"0.700"]
["4","ZC-04",null,"已完工程及设备保护费",null,null,"0.500"]
["5","ZC-05",null,"工程定位复测费",null,null,"0.800"]
["6","ZC-06",null,"非夜间施工照明费",null,null,"0.400"]
["7","ZC-07",null,"临时保护设施费",null,null,"0.100"]
["8","ZC-08",null,"赶工措施费",null,null,""]
{"$rows_empty":29}
["合   计",{"$nulls":7},""]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]

{"sheet":"3 附录G 不可竞争项目清单与计价表","index":2,"n_rows":43,"n_cols":9,"rows_kept":43,"merged":[[0,0,0,8],[1,0,1,3],[1,4,1,6],[1,7,1,8],[2,1,2,2],[2,3,2,4],[2,6,2,7],[3,1,3,2],[3,3,3,4],[3,6,3,7],[4,1,4,2],[4,3,4,4],[4,6,4,7],[5,1,5,2],[5,3,5,4],[5,6,5,7],[6,1,6,2],[6,3,6,4],[6,6,6,7],[7,1,7,2],[7,3,7,4],[7,6,7,7],[8,1,8,2],[8,3,8,4],[8,6,8,7],[9,1,9,2],[9,3,9,4],[9,6,9,7],[10,1,10,2],[10,3,10,4],[10,6,10,7],[11,1,11,2],[11,3,11,4],[11,6,11,7],[12,1,12,2],[12,3,12,4],[12,6,12,7],[13,1,13,2],[13,3,13,4],[13,6,13,7],[14,1,14,2],[14,3,14,4],[14,6,14,7],[15,1,15,2],[15,3,15,4],[15,6,15,7],[16,1,16,2],[16,3,16,4],[16,6,16,7],[17,1,17,2],[17,3,17,4],[17,6,17,7],[18,1,18,2],[18,3,18,4],[18,6,18,7],[19,1,19,2],[19,3,19,4],[19,6,19,7],[20,1,20,2],[20,3,20,4],[20,6,20,7],[21,1,21,2],[21,3,21,4],[21,6,21,7],[22,1,22,2],[22,3,22,4],[22,6,22,7],[23,1,23,2],[23,3,23,4],[23,6,23,7],[24,1,24,2],[24,3,24,4],[24,6,24,7],[25,1,25,2],[25,3,25,4],[25,6,25,7],[26,1,26,2],[26,3,26,4],[26,6,26,7],[27,1,27,2],[27,3,27,4],[27,6,27,7],[28,1,28,2],[28,3,28,4],[28,6,28,7],[29,1,29,2],[29,3,29,4],[29,6,29,7],[30,1,30,2],[30,3,30,4],[30,6,30,7],[31,1,31,2],[31,3,31,4],[31,6,31,7],[32,1,32,2],[32,3,32,4],[32,6,32,7],[33,1,33,2],[33,3,33,4],[33,6,33,7],[34,1,34,2],[34,3,34,4],[34,6,34,7],[35,1,35,2],[35,3,35,4],[35,6,35,7],[36,1,36,2],[36,3,36,4],[36,6,36,7],[37,1,37,2],[37,3,37,4],[37,6,37,7],[38,1,38,2],[38,3,38,4],[38,6,38,7],[39,1,39,2],[39,3,39,4],[39,6,39,7],[40,0,40,7],[42,2,42,8]],"flags":["formulas_cached_only"]}
["附录G 不可竞争项目清单与计价表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目装饰工程",{"$nulls":3},"标段：",null,null,"第1页 共1页"]
["序号","项目编码",null,"项目名称",null,"计算基数","费率（%）",null,"金额（元）"]
["1","ZF-01",null,"环境保护费",null,null,"1.000"]
["2","ZF-02",null,"文明施工费",null,null,"3.600"]
["3","ZF-03",null,"安全施工费",null,null,"3.100"]
["4","ZF-04",null,"临时设施费",null,null,"5.800"]
["5","ZF-05",null,"工程排污费",null,null,""]
{"$rows_empty":32}
["合   计",{"$nulls":7},""]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]

{"sheet":"4 H.1 其他项目清单与计价汇总表","index":3,"n_rows":43,"n_cols":6,"rows_kept":43,"merged":[[0,0,0,5],[1,0,1,2],[1,3,1,4],[2,1,2,3],[2,4,2,5],[3,1,3,3],[3,4,3,5],[4,1,4,3],[4,4,4,5],[5,1,5,3],[5,4,5,5],[6,1,6,3],[6,4,6,5],[7,1,7,3],[7,4,7,5],[8,1,8,3],[8,4,8,5],[9,1,9,3],[9,4,9,5],[10,1,10,3],[10,4,10,5],[11,1,11,3],[11,4,11,5],[12,1,12,3],[12,4,12,5],[13,1,13,3],[13,4,13,5],[14,1,14,3],[14,4,14,5],[15,1,15,3],[15,4,15,5],[16,1,16,3],[16,4,16,5],[17,1,17,3],[17,4,17,5],[18,1,18,3],[18,4,18,5],[19,1,19,3],[19,4,19,5],[20,1,20,3],[20,4,20,5],[21,1,21,3],[21,4,21,5],[22,1,22,3],[22,4,22,5],[23,1,23,3],[23,4,23,5],[24,1,24,3],[24,4,24,5],[25,1,25,3],[25,4,25,5],[26,1,26,3],[26,4,26,5],[27,1,27,3],[27,4,27,5],[28,1,28,3],[28,4,28,5],[29,1,29,3],[29,4,29,5],[30,1,30,3],[30,4,30,5],[31,1,31,3],[31,4,31,5],[32,1,32,3],[32,4,32,5],[33,1,33,3],[33,4,33,5],[34,1,34,3],[34,4,34,5],[35,1,35,3],[35,4,35,5],[36,1,36,3],[36,4,36,5],[37,1,37,3],[37,4,37,5],[38,1,38,3],[38,4,38,5],[39,1,39,3],[39,4,39,5],[40,0,40,3],[40,4,40,5],[42,2,42,5]],"flags":["formulas_cached_only"]}
["H.1 其他项目清单与计价汇总表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目装饰工程",null,null,"标段：",null,"第1页 共1页"]
["序号","项目名称",null,null,"金额(元)"]
["1","暂列金额",null,null,""]
["2","专业工程暂估价",null,null,""]
["3","计日工",null,null,""]
["4","总承包服务费",null,null,""]
{"$rows_empty":33}
["合  计",{"$nulls":3},""]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]

{"sheet":"5 H.2 暂列金额明细表","index":4,"n_rows":44,"n_cols":8,"rows_kept":44,"merged":[[0,0,0,7],[1,0,1,3],[1,4,1,5],[1,6,1,7],[2,1,2,2],[2,3,2,4],[2,5,2,6],[3,1,3,2],[3,3,3,4],[3,5,3,6],[4,1,4,2],[4,3,4,4],[4,5,4,6],[5,1,5,2],[5,3,5,4],[5,5,5,6],[6,1,6,2],[6,3,6,4],[6,5,6,6],[7,1,7,2],[7,3,7,4],[7,5,7,6],[8,1,8,2],[8,3,8,4],[8,5,8,6],[9,1,9,2],[9,3,9,4],[9,5,9,6],[10,1,10,2],[10,3,10,4],[10,5,10,6],[11,1,11,2],[11,3,11,4],[11,5,11,6],[12,1,12,2],[12,3,12,4],[12,5,12,6],[13,1,13,2],[13,3,13,4],[13,5,13,6],[14,1,14,2],[14,3,14,4],[14,5,14,6],[15,1,15,2],[15,3,15,4],[15,5,15,6],[16,1,16,2],[16,3,16,4],[16,5,16,6],[17,1,17,2],[17,3,17,4],[17,5,17,6],[18,1,18,2],[18,3,18,4],[18,5,18,6],[19,1,19,2],[19,3,19,4],[19,5,19,6],[20,1,20,2],[20,3,20,4],[20,5,20,6],[21,1,21,2],[21,3,21,4],[21,5,21,6],[22,1,22,2],[22,3,22,4],[22,5,22,6],[23,1,23,2],[23,3,23,4],[23,5,23,6],[24,1,24,2],[24,3,24,4],[24,5,24,6],[25,1,25,2],[25,3,25,4],[25,5,25,6],[26,1,26,2],[26,3,26,4],[26,5,26,6],[27,1,27,2],[27,3,27,4],[27,5,27,6],[28,1,28,2],[28,3,28,4],[28,5,28,6],[29,1,29,2],[29,3,29,4],[29,5,29,6],[30,1,30,2],[30,3,30,4],[30,5,30,6],[31,1,31,2],[31,3,31,4],[31,5,31,6],[32,1,32,2],[32,3,32,4],[32,5,32,6],[33,1,33,2],[33,3,33,4],[33,5,33,6],[34,1,34,2],[34,3,34,4],[34,5,34,6],[35,1,35,2],[35,3,35,4],[35,5,35,6],[36,1,36,2],[36,3,36,4],[36,5,36,6],[37,1,37,2],[37,3,37,4],[37,5,37,6],[38,1,38,2],[38,3,38,4],[38,5,38,6],[40,0,40,4],[40,5,40,6],[42,2,42,7],[43,0,43,7]],"flags":["formulas_cached_only"]}
["H.2 暂列金额明细表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目装饰工程",{"$nulls":3},"标段：",null,"第1页 共1页"]
["序号","项目名称",null,"计量单位",null,"暂定金额(元)",null,"备注"]
{"$rows_empty":37}
["合  计",{"$nulls":4},""]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["说明：此表由招标人填写，如不能详列，也可只列暂定金额总额，投款人应将上述暂列金额计入投标总价中。"]

{"sheet":"6 H.3 专业工程暂估价计价表","index":5,"n_rows":44,"n_cols":8,"rows_kept":44,"merged":[[0,0,0,7],[1,0,1,3],[1,4,1,5],[1,6,1,7],[2,1,2,2],[2,3,2,4],[2,5,2,6],[3,1,3,2],[3,3,3,4],[3,5,3,6],[4,1,4,2],[4,3,4,4],[4,5,4,6],[5,1,5,2],[5,3,5,4],[5,5,5,6],[6,1,6,2],[6,3,6,4],[6,5,6,6],[7,1,7,2],[7,3,7,4],[7,5,7,6],[8,1,8,2],[8,3,8,4],[8,5,8,6],[9,1,9,2],[9,3,9,4],[9,5,9,6],[10,1,10,2],[10,3,10,4],[10,5,10,6],[11,1,11,2],[11,3,11,4],[11,5,11,6],[12,1,12,2],[12,3,12,4],[12,5,12,6],[13,1,13,2],[13,3,13,4],[13,5,13,6],[14,1,14,2],[14,3,14,4],[14,5,14,6],[15,1,15,2],[15,3,15,4],[15,5,15,6],[16,1,16,2],[16,3,16,4],[16,5,16,6],[17,1,17,2],[17,3,17,4],[17,5,17,6],[18,1,18,2],[18,3,18,4],[18,5,18,6],[19,1,19,2],[19,3,19,4],[19,5,19,6],[20,1,20,2],[20,3,20,4],[20,5,20,6],[21,1,21,2],[21,3,21,4],[21,5,21,6],[22,1,22,2],[22,3,22,4],[22,5,22,6],[23,1,23,2],[23,3,23,4],[23,5,23,6],[24,1,24,2],[24,3,24,4],[24,5,24,6],[25,1,25,2],[25,3,25,4],[25,5,25,6],[26,1,26,2],[26,3,26,4],[26,5,26,6],[27,1,27,2],[27,3,27,4],[27,5,27,6],[28,1,28,2],[28,3,28,4],[28,5,28,6],[29,1,29,2],[29,3,29,4],[29,5,29,6],[30,1,30,2],[30,3,30,4],[30,5,30,6],[31,1,31,2],[31,3,31,4],[31,5,31,6],[32,1,32,2],[32,3,32,4],[32,5,32,6],[33,1,33,2],[33,3,33,4],[33,5,33,6],[34,1,34,2],[34,3,34,4],[34,5,34,6],[35,1,35,2],[35,3,35,4],[35,5,35,6],[36,1,36,2],[36,3,36,4],[36,5,36,6],[37,1,37,2],[37,3,37,4],[37,5,37,6],[38,1,38,2],[38,3,38,4],[38,5,38,6],[40,0,40,4],[40,5,40,6],[42,2,42,7],[43,0,43,7]],"flags":["formulas_cached_only"]}
["H.3 专业工程暂估价计价表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目装饰工程",{"$nulls":3},"标段：",null,"第1页 共1页"]
["序号","工程名称",null,"工程内容",null,"金额(元)",null,"备注"]
{"$rows_empty":37}
["合  计",{"$nulls":4},""]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["说明：此表中“金额”由招标人填写。投标时，投标人应按招标人所列金额计入投标总价中。结算时按合同约定结算金额填写。"]

{"sheet":"7 H.4 计日工表","index":6,"n_rows":44,"n_cols":9,"rows_kept":44,"merged":[[0,0,0,8],[1,0,1,3],[1,4,1,6],[1,7,1,8],[2,1,2,2],[2,3,2,4],[2,6,2,7],[3,1,3,2],[3,3,3,4],[3,6,3,7],[4,0,4,7],[5,1,5,2],[5,3,5,4],[5,6,5,7],[6,0,6,7],[7,1,7,2],[7,3,7,4],[7,6,7,7],[8,0,8,7],[9,1,9,2],[9,3,9,4],[9,6,9,7],[10,1,10,2],[10,3,10,4],[10,6,10,7],[11,1,11,2],[11,3,11,4],[11,6,11,7],[12,1,12,2],[12,3,12,4],[12,6,12,7],[13,1,13,2],[13,3,13,4],[13,6,13,7],[14,1,14,2],[14,3,14,4],[14,6,14,7],[15,1,15,2],[15,3,15,4],[15,6,15,7],[16,1,16,2],[16,3,16,4],[16,6,16,7],[17,1,17,2],[17,3,17,4],[17,6,17,7],[18,1,18,2],[18,3,18,4],[18,6,18,7],[19,1,19,2],[19,3,19,4],[19,6,19,7],[20,1,20,2],[20,3,20,4],[20,6,20,7],[21,1,21,2],[21,3,21,4],[21,6,21,7],[22,1,22,2],[22,3,22,4],[22,6,22,7],[23,1,23,2],[23,3,23,4],[23,6,23,7],[24,1,24,2],[24,3,24,4],[24,6,24,7],[25,1,25,2],[25,3,25,4],[25,6,25,7],[26,1,26,2],[26,3,26,4],[26,6,26,7],[27,1,27,2],[27,3,27,4],[27,6,27,7],[28,1,28,2],[28,3,28,4],[28,6,28,7],[29,1,29,2],[29,3,29,4],[29,6,29,7],[30,1,30,2],[30,3,30,4],[30,6,30,7],[31,1,31,2],[31,3,31,4],[31,6,31,7],[32,1,32,2],[32,3,32,4],[32,6,32,7],[33,1,33,2],[33,3,33,4],[33,6,33,7],[34,1,34,2],[34,3,34,4],[34,6,34,7],[35,1,35,2],[35,3,35,4],[35,6,35,7],[36,1,36,2],[36,3,36,4],[36,6,36,7],[37,1,37,2],[37,3,37,4],[37,6,37,7],[38,1,38,2],[38,3,38,4],[38,6,38,7],[40,0,40,7],[42,2,42,8],[43,0,43,8]],"flags":["formulas_cached_only"]}
["H.4 计日工表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目装饰工程",{"$nulls":3},"标段：",null,null,"第1页 共1页"]
["编码","项目名称",null,"单位",null,"数量","综合单价",null,"合价（元）"]
["一","人工",{"$nulls":3},""]
["人工费小计"]
["二","材料",{"$nulls":3},""]
["材料费小计"]
["三","施工机械",{"$nulls":3},""]
["施工机械费小计"]
{"$rows_empty":31}
["合     计",{"$nulls":7},""]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["说明：此表项目名称、数量由招标人填写，编制最高投标限价时，综合单价由招标人按有关计价规定确定；投标时，综合单价由投标人自主报价，按招标人所列数量计算合价计入投标总价中。结算时，按发承包双方确认的实际数量计算。"]

{"sheet":"8 H.5 总承包服务费计价表","index":7,"n_rows":43,"n_cols":9,"rows_kept":43,"merged":[[0,0,0,8],[1,0,1,3],[1,4,1,6],[1,7,1,8],[2,1,2,2],[2,3,2,4],[2,6,2,7],[3,1,3,2],[3,3,3,4],[3,6,3,7],[4,1,4,2],[4,3,4,4],[4,6,4,7],[5,1,5,2],[5,3,5,4],[5,6,5,7],[6,1,6,2],[6,3,6,4],[6,6,6,7],[7,1,7,2],[7,3,7,4],[7,6,7,7],[8,1,8,2],[8,3,8,4],[8,6,8,7],[9,1,9,2],[9,3,9,4],[9,6,9,7],[10,1,10,2],[10,3,10,4],[10,6,10,7],[11,1,11,2],[11,3,11,4],[11,6,11,7],[12,1,12,2],[12,3,12,4],[12,6,12,7],[13,1,13,2],[13,3,13,4],[13,6,13,7],[14,1,14,2],[14,3,14,4],[14,6,14,7],[15,1,15,2],[15,3,15,4],[15,6,15,7],[16,1,16,2],[16,3,16,4],[16,6,16,7],[17,1,17,2],[17,3,17,4],[17,6,17,7],[18,1,18,2],[18,3,18,4],[18,6,18,7],[19,1,19,2],[19,3,19,4],[19,6,19,7],[20,1,20,2],[20,3,20,4],[20,6,20,7],[21,1,21,2],[21,3,21,4],[21,6,21,7],[22,1,22,2],[22,3,22,4],[22,6,22,7],[23,1,23,2],[23,3,23,4],[23,6,23,7],[24,1,24,2],[24,3,24,4],[24,6,24,7],[25,1,25,2],[25,3,25,4],[25,6,25,7],[26,1,26,2],[26,3,26,4],[26,6,26,7],[27,1,27,2],[27,3,27,4],[27,6,27,7],[28,1,28,2],[28,3,28,4],[28,6,28,7],[29,1,29,2],[29,3,29,4],[29,6,29,7],[30,1,30,2],[30,3,30,4],[30,6,30,7],[31,1,31,2],[31,3,31,4],[31,6,31,7],[32,1,32,2],[32,3,32,4],[32,6,32,7],[33,1,33,2],[33,3,33,4],[33,6,33,7],[34,1,34,2],[34,3,34,4],[34,6,34,7],[35,1,35,2],[35,3,35,4],[35,6,35,7],[36,1,36,2],[36,3,36,4],[36,6,36,7],[37,1,37,2],[37,3,37,4],[37,6,37,7],[38,1,38,2],[38,3,38,4],[38,6,38,7],[39,1,39,2],[39,3,39,4],[39,6,39,7],[40,0,40,7],[42,2,42,8]],"flags":["formulas_cached_only"]}
["H.5 总承包服务费计价表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目装饰工程",{"$nulls":3},"标段：",null,null,"第1页 共1页"]
["序号","工程名称",null,"项目价值(元)",null,"服务内容","费率(％)",null,"金额(元)"]
["1","发包人发包专业工程",null,""]
["2","发包人供应材料",null,""]
{"$rows_empty":35}
["合  计",{"$nulls":7},""]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]

{"sheet":"9 附录I 税金计价表","index":8,"n_rows":44,"n_cols":9,"rows_kept":44,"merged":[[0,0,0,8],[1,0,1,3],[1,4,1,5],[1,6,1,8],[2,1,2,2],[2,3,2,4],[2,5,2,6],[3,1,3,2],[3,3,3,4],[3,5,3,6],[4,1,4,2],[4,3,4,4],[4,5,4,6],[5,1,5,2],[5,3,5,4],[5,5,5,6],[6,1,6,2],[6,3,6,4],[6,5,6,6],[7,1,7,2],[7,3,7,4],[7,5,7,6],[8,1,8,2],[8,3,8,4],[8,5,8,6],[9,1,9,2],[9,3,9,4],[9,5,9,6],[10,1,10,2],[10,3,10,4],[10,5,10,6],[11,1,11,2],[11,3,11,4],[11,5,11,6],[12,1,12,2],[12,3,12,4],[12,5,12,6],[13,1,13,2],[13,3,13,4],[13,5,13,6],[14,1,14,2],[14,3,14,4],[14,5,14,6],[15,1,15,2],[15,3,15,4],[15,5,15,6],[16,1,16,2],[16,3,16,4],[16,5,16,6],[17,1,17,2],[17,3,17,4],[17,5,17,6],[18,1,18,2],[18,3,18,4],[18,5,18,6],[19,1,19,2],[19,3,19,4],[19,5,19,6],[20,1,20,2],[20,3,20,4],[20,5,20,6],[21,1,21,2],[21,3,21,4],[21,5,21,6],[22,1,22,2],[22,3,22,4],[22,5,22,6],[23,1,23,2],[23,3,23,4],[23,5,23,6],[24,1,24,2],[24,3,24,4],[24,5,24,6],[25,1,25,2],[25,3,25,4],[25,5,25,6],[26,1,26,2],[26,3,26,4],[26,5,26,6],[27,1,27,2],[27,3,27,4],[27,5,27,6],[28,1,28,2],[28,3,28,4],[28,5,28,6],[29,1,29,2],[29,3,29,4],[29,5,29,6],[30,1,30,2],[30,3,30,4],[30,5,30,6],[31,1,31,2],[31,3,31,4],[31,5,31,6],[32,1,32,2],[32,3,32,4],[32,5,32,6],[33,1,33,2],[33,3,33,4],[33,5,33,6],[34,1,34,2],[34,3,34,4],[34,5,34,6],[35,1,35,2],[35,3,35,4],[35,5,35,6],[36,1,36,2],[36,3,36,4],[36,5,36,6],[37,1,37,2],[37,3,37,4],[37,5,37,6],[38,1,38,2],[38,3,38,4],[38,5,38,6],[39,1,39,2],[39,3,39,4],[39,5,39,6],[41,0,41,7],[43,2,43,8]],"flags":["formulas_cached_only"]}
["附录I 税金计价表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目装饰工程",{"$nulls":3},"标段：",null,"第1页 共1页"]
["序号","项目名称",null,"计算基础",null,"计算基数",null,"费率(％)","金额(元)"]
["1","增值税",null,"分部分项工程费+措施项目费+不可竞争费+其他项目费",{"$nulls":3},"9.000"]
{"$rows_empty":37}
["合  计",{"$nulls":7},""]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]

{"sheet":"10 J.1 材料（工程设备）暂估单价一览表","index":9,"n_rows":45,"n_cols":8,"rows_kept":45,"merged":[[0,0,0,7],[1,0,1,2],[1,3,1,5],[1,6,1,7],[2,1,2,3],[2,5,2,6],[3,1,3,3],[3,5,3,6],[4,1,4,3],[4,5,4,6],[5,1,5,3],[5,5,5,6],[6,1,6,3],[6,5,6,6],[7,1,7,3],[7,5,7,6],[8,1,8,3],[8,5,8,6],[9,1,9,3],[9,5,9,6],[10,1,10,3],[10,5,10,6],[11,1,11,3],[11,5,11,6],[12,1,12,3],[12,5,12,6],[13,1,13,3],[13,5,13,6],[14,1,14,3],[14,5,14,6],[15,1,15,3],[15,5,15,6],[16,1,16,3],[16,5,16,6],[17,1,17,3],[17,5,17,6],[18,1,18,3],[18,5,18,6],[19,1,19,3],[19,5,19,6],[20,1,20,3],[20,5,20,6],[21,1,21,3],[21,5,21,6],[22,1,22,3],[22,5,22,6],[23,1,23,3],[23,5,23,6],[24,1,24,3],[24,5,24,6],[25,1,25,3],[25,5,25,6],[26,1,26,3],[26,5,26,6],[27,1,27,3],[27,5,27,6],[28,1,28,3],[28,5,28,6],[29,1,29,3],[29,5,29,6],[30,1,30,3],[30,5,30,6],[31,1,31,3],[31,5,31,6],[32,1,32,3],[32,5,32,6],[33,1,33,3],[33,5,33,6],[34,1,34,3],[34,5,34,6],[35,1,35,3],[35,5,35,6],[36,1,36,3],[36,5,36,6],[37,1,37,3],[37,5,37,6],[38,1,38,3],[38,5,38,6],[39,1,39,3],[39,5,39,6],[40,1,40,3],[40,5,40,6],[41,0,41,7],[43,2,43,7],[44,0,44,7]],"flags":["formulas_cached_only"]}
["J.1 材料（工程设备）暂估单价一览表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目装饰工程",null,null,"标段：",null,null,"第1页 共1页"]
["序号","材料(工程设备)名称、规格、型号",null,null,"计量单位","数量",null,"单价(元)"]
{"$rows_empty":40}
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["说明：此表由招标人填写，投标人应将上述材料（工程设备）暂估单价计入工程量清单综合单价报价中。"]

{"sheet":"11 J.2 发包人提供材料（工程设备）一览表","index":10,"n_rows":45,"n_cols":10,"rows_kept":45,"merged":[[0,0,0,9],[1,0,1,3],[1,4,1,7],[1,8,1,9],[2,1,2,2],[2,3,2,4],[2,7,2,8],[3,1,3,2],[3,3,3,4],[3,7,3,8],[4,1,4,2],[4,3,4,4],[4,7,4,8],[5,1,5,2],[5,3,5,4],[5,7,5,8],[6,1,6,2],[6,3,6,4],[6,7,6,8],[7,1,7,2],[7,3,7,4],[7,7,7,8],[8,1,8,2],[8,3,8,4],[8,7,8,8],[9,1,9,2],[9,3,9,4],[9,7,9,8],[10,1,10,2],[10,3,10,4],[10,7,10,8],[11,1,11,2],[11,3,11,4],[11,7,11,8],[12,1,12,2],[12,3,12,4],[12,7,12,8],[13,1,13,2],[13,3,13,4],[13,7,13,8],[14,1,14,2],[14,3,14,4],[14,7,14,8],[15,1,15,2],[15,3,15,4],[15,7,15,8],[16,1,16,2],[16,3,16,4],[16,7,16,8],[17,1,17,2],[17,3,17,4],[17,7,17,8],[18,1,18,2],[18,3,18,4],[18,7,18,8],[19,1,19,2],[19,3,19,4],[19,7,19,8],[20,1,20,2],[20,3,20,4],[20,7,20,8],[21,1,21,2],[21,3,21,4],[21,7,21,8],[22,1,22,2],[22,3,22,4],[22,7,22,8],[23,1,23,2],[23,3,23,4],[23,7,23,8],[24,1,24,2],[24,3,24,4],[24,7,24,8],[25,1,25,2],[25,3,25,4],[25,7,25,8],[26,1,26,2],[26,3,26,4],[26,7,26,8],[27,1,27,2],[27,3,27,4],[27,7,27,8],[28,1,28,2],[28,3,28,4],[28,7,28,8],[29,1,29,2],[29,3,29,4],[29,7,29,8],[30,1,30,2],[30,3,30,4],[30,7,30,8],[31,1,31,2],[31,3,31,4],[31,7,31,8],[32,1,32,2],[32,3,32,4],[32,7,32,8],[33,1,33,2],[33,3,33,4],[33,7,33,8],[34,1,34,2],[34,3,34,4],[34,7,34,8],[35,1,35,2],[35,3,35,4],[35,7,35,8],[36,1,36,2],[36,3,36,4],[36,7,36,8],[37,1,37,2],[37,3,37,4],[37,7,37,8],[38,1,38,2],[38,3,38,4],[38,7,38,8],[39,1,39,2],[39,3,39,4],[39,7,39,8],[40,1,40,2],[40,3,40,4],[40,7,40,8],[41,0,41,9],[43,2,43,9],[44,0,44,9]],"flags":["formulas_cached_only"]}
["J.2 发包人提供材料（工程设备）一览表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目装饰工程",{"$nulls":3},"标段：",{"$nulls":3},"第1页 共1页"]
["序号","材料(工程设备)名称、规格、型号",null,"计量单位",null,"数量","单价(元)","合价(元)",null,"备注"]
{"$rows_empty":40}
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["说明：此表由招标人填写，供投标人在投标报价、确定总承包服务费时参考。"]

{"sheet":"12 J.3 承包人提供材料（工程设备）一览表","index":11,"n_rows":44,"n_cols":11,"rows_kept":44,"merged":[[0,0,0,10],[1,0,1,4],[1,5,1,7],[1,8,1,10],[2,1,2,2],[2,4,2,5],[2,7,2,8],[3,1,3,2],[3,4,3,5],[3,7,3,8],[4,1,4,2],[4,4,4,5],[4,7,4,8],[5,1,5,2],[5,4,5,5],[5,7,5,8],[6,1,6,2],[6,4,6,5],[6,7,6,8],[7,1,7,2],[7,4,7,5],[7,7,7,8],[8,1,8,2],[8,4,8,5],[8,7,8,8],[9,1,9,2],[9,4,9,5],[9,7,9,8],[10,1,10,2],[10,4,10,5],[10,7,10,8],[11,1,11,2],[11,4,11,5],[11,7,11,8],[12,1,12,2],[12,4,12,5],[12,7,12,8],[13,1,13,2],[13,4,13,5],[13,7,13,8],[14,1,14,2],[14,4,14,5],[14,7,14,8],[15,1,15,2],[15,4,15,5],[15,7,15,8],[16,1,16,2],[16,4,16,5],[16,7,16,8],[17,1,17,2],[17,4,17,5],[17,7,17,8],[18,1,18,2],[18,4,18,5],[18,7,18,8],[19,1,19,2],[19,4,19,5],[19,7,19,8],[20,1,20,2],[20,4,20,5],[20,7,20,8],[21,1,21,2],[21,4,21,5],[21,7,21,8],[22,1,22,2],[22,4,22,5],[22,7,22,8],[23,1,23,2],[23,4,23,5],[23,7,23,8],[24,1,24,2],[24,4,24,5],[24,7,24,8],[25,1,25,2],[25,4,25,5],[25,7,25,8],[26,1,26,2],[26,4,26,5],[26,7,26,8],[27,1,27,2],[27,4,27,5],[27,7,27,8],[28,1,28,2],[28,4,28,5],[28,7,28,8],[29,1,29,2],[29,4,29,5],[29,7,29,8],[30,1,30,2],[30,4,30,5],[30,7,30,8],[31,1,31,2],[31,4,31,5],[31,7,31,8],[32,1,32,2],[32,4,32,5],[32,7,32,8],[33,1,33,2],[33,4,33,5],[33,7,33,8],[34,1,34,2],[34,4,34,5],[34,7,34,8],[35,1,35,2],[35,4,35,5],[35,7,35,8],[36,1,36,2],[36,4,36,5],[36,7,36,8],[37,1,37,2],[37,4,37,5],[37,7,37,8],[38,1,38,2],[38,4,38,5],[38,7,38,8],[39,1,39,2],[39,4,39,5],[39,7,39,8],[40,0,40,10],[42,2,42,10],[43,0,43,10]],"flags":["formulas_cached_only"]}
["J.3 承包人提供材料（工程设备）一览表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目装饰工程",{"$nulls":4},"标段：",null,null,"第1页 共1页"]
["序号","材料（工程设备）名称、规格、型号",null,"计量单位","数量",null,"风险系数(%)","基准单价",null,"投标单价","备注"]
{"$rows_empty":39}
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["说明：1.此表由投标人在投标时自主确定投标单价，其他内容由招标人填写。\n   2.招标人应优先采用工程造价管理机构发布的单价作为基准单价，未发布的，通过市场调查确定其基准单价。"]