{"text_format":"3","workbook":"xls","n_sheets":13,"sheets":["1 单位工程最高投标限价汇总表","2 E.1 分部分项工程量清单计价表","3 附录F 措施项目清单计价表","4 附录G 不可竞争项目清单与计价表","5 H.1 其他项目清单与计价汇总表","6 H.2 暂列金额明细表","7 H.3 专业工程暂估价计价表","8 H.4 计日工表","9 H.5 总承包服务费计价表","10 附录I 税金计价表","11 J.1 材料（工程设备）暂估单价一览表","12 J.2 发包人提供材料（工程设备）一览表","13 J.3 承包人提供材料（工程设备）一览表"],"not_rendered":{"external_links":1,"defined_names":13},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"1 单位工程最高投标限价汇总表","index":0,"n_rows":43,"n_cols":7,"rows_kept":43,"merged":[[0,0,0,6],[1,0,1,2],[1,3,1,5],[2,1,2,3],[2,5,2,6],[3,1,3,3],[3,5,3,6],[4,1,4,3],[4,5,4,6],[5,1,5,3],[5,5,5,6],[6,1,6,3],[6,5,6,6],[7,1,7,3],[7,5,7,6],[8,1,8,3],[8,5,8,6],[9,1,9,3],[9,5,9,6],[10,1,10,3],[10,5,10,6],[11,1,11,3],[11,5,11,6],[12,1,12,3],[12,5,12,6],[13,1,13,3],[13,5,13,6],[14,1,14,3],[14,5,14,6],[15,1,15,3],[15,5,15,6],[16,1,16,3],[16,5,16,6],[17,1,17,3],[17,5,17,6],[18,1,18,3],[18,5,18,6],[19,1,19,3],[19,5,19,6],[20,1,20,3],[20,5,20,6],[21,1,21,3],[21,5,21,6],[22,1,22,3],[22,5,22,6],[23,1,23,3],[23,5,23,6],[24,1,24,3],[24,5,24,6],[25,1,25,3],[25,5,25,6],[26,1,26,3],[26,5,26,6],[27,1,27,3],[27,5,27,6],[28,1,28,3],[28,5,28,6],[29,1,29,3],[29,5,29,6],[30,1,30,3],[30,5,30,6],[31,1,31,3],[31,5,31,6],[32,1,32,3],[32,5,32,6],[33,1,33,3],[33,5,33,6],[34,1,34,3],[34,5,34,6],[35,1,35,3],[35,5,35,6],[36,1,36,3],[36,5,36,6],[37,1,37,3],[37,5,37,6],[38,1,38,3],[38,5,38,6],[39,1,39,3],[39,5,39,6],[40,0,40,3],[40,5,40,6],[42,2,42,6]],"flags":["formulas_cached_only"]}
["D.3 单位工程最高投标限价汇总表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目装饰工程",null,null,"标段：",null,null,"第1页 共1页"]
["序号","汇总内容",null,null,"金额(元)","其中：材料、设备暂估价（元）"]
["1","分部分项工程费",null,null,"557207.63",""]
["1.1","  定额人工费",null,null,"26965.42",""]
["1.2","  定额机械费",null,null,"24267.44",""]
["1.3","  综合费",null,null,"14862.20",""]
["2","措施项目费",null,null,"2151.76",""]
["3","不可竞争费",null,null,"6916.44",""]
["3.1","  安全文明施工费",null,null,"6916.44",""]
["3.2","  工程排污费",null,null,"",""]
["4","其他项目",null,null,"",""]
["4.1","  暂列金额",null,null,"",""]
["4.2","  专业工程暂估价",null,null,"",""]
["4.3","  计日工",null,null,"",""]
["4.4","  总承包服务费",null,null,"",""]
["5","税金",null,null,"50964.82",""]
{"$rows_empty":23}
["工程造价=1+2+3+4+5",{"$nulls":3},"617240.65",""]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]

{"sheet":"2 E.1 分部分项工程量清单计价表","index":1,"n_rows":189,"n_cols":14,"rows_kept":189,"merged":[[0,0,0,13],[1,0,1,5],[1,6,1,10],[1,11,1,13],[2,0,4,0],[2,1,4,1],[2,2,4,3],[2,4,4,4],[2,5,4,6],[2,7,4,7],[2,8,2,13],[3,8,4,8],[3,9,4,9],[3,10,3,13],[4,10,4,11],[5,2,5,4],[5,5,5,6],[5,10,5,11],[6,0,7,0],[6,1,7,1],[6,2,7,3],[6,4,7,4],[6,5,7,6],[6,7,7,7],[6,8,7,8],[6,9,7,9],[6,10,7,11],[6,12,7,12],[6,13,7,13],[8,0,9,0],[8,1,9,1],[8,2,9,3],[8,4,9,4],[8,5,9,6],[8,7,9,7],[8,8,9,8],[8,9,9,9],[8,10,9,11],[8,12,9,12],[8,13,9,13],[10,0,11,0],[10,1,11,1],[10,2,11,3],[10,4,11,4],[10,5,11,6],[10,7,11,7],[10,8,11,8],[10,9,11,9],[10,10,11,11],[10,12,11,12],[10,13,11,13],[12,0,13,0],[12,1,13,1],[12,2,13,3],[12,4,13,4],[12,5,13,6],[12,7,13,7],[12,8,13,8],[12,9,13,9],[12,10,13,11],[12,12,13,12],[12,13,13,13],[14,2,14,4],[14,5,14,6],[14,10,14,11],[15,2,15,4],[15,5,15,6],[15,10,15,11],[16,0,17,0],[16,1,17,1],[16,2,17,3],[16,4,17,4],[16,5,17,6],[16,7,17,7],[16,8,17,8],[16,9,17,9],[16,10,17,11],[16,12,17,12],[16,13,17,13],[18,2,18,3],[18,5,18,6],[18,10,18,11],[19,2,19,3],[19,5,19,6],[19,10,19,11],[20,2,20,3],[20,5,20,6],[20,10,20,11],[21,2,21,3],[21,5,21,6],[21,10,21,11],[22,0,22,13],[24,3,24,13],[25,0,25,13],[26,0,26,5],[26,6,26,10],[26,11,26,13],[27,0,29,0],[27,1,29,1],[27,2,29,3],[27,4,29,4],[27,5,29,6],[27,7,29,7],[27,8,27,13],[28,8,29,8],[28,9,29,9],[28,10,28,13],[29,10,29,11],[30,0,31,0],[30,1,31,1],[30,2,31,3],[30,4,31,4],[30,5,31,6],[30,7,31,7],[30,8,31,8],[30,9,31,9],[30,10,31,11],[30,12,31,12],[30,13,31,13],[32,0,34,0],[32,1,34,1],[32,2,34,3],[32,4,34,4],[32,5,34,6],[32,7,34,7],[32,8,34,8],[32,9,34,9],[32,10,34,11],[32,12,34,12],[32,13,34,13],[35,0,36,0],[35,1,36,1],[35,2,36,3],[35,4,36,4],[35,5,36,6],[35,7,36,7],[35,8,36,8],[35,9,36,9],[35,10,36,11],[35,12,36,12],[35,13,36,13],[37,0,38,0],[37,1,38,1],[37,2,38,3],[37,4,38,4],[37,5,38,6],[37,7,38,7],[37,8,38,8],[37,9,38,9],[37,10,38,11],[37,12,38,12],[37,13,38,13],[39,0,40,0],[39,1,40,1],[39,2,40,3],[39,4,40,4],[39,5,40,6],[39,7,40,7],[39,8,40,8],[39,9,40,9],[39,10,40,11],[39,12,40,12],[39,13,40,13],[41,2,41,3],[41,5,41,6],[41,10,41,11],[42,2,42,3],[42,5,42,6],[42,10,42,11],[43,2,43,3],[43,5,43,6],[43,10,43,11],[44,2,44,3],[44,5,44,6],[44,10,44,11],[45,0,45,13],[46,3,46,13],[47,0,47,13],[48,0,48,5],[48,6,48,10],[48,11,48,13],[49,0,51,0],[49,1,51,1],[49,2,51,3],[49,4,51,4],[49,5,51,6],[49,7,51,7],[49,8,49,13],[50,8,51,8],[50,9,51,9],[50,10,50,13],[51,10,51,11],[52,0,53,0],[52,1,53,1],[52,2,53,3],[52,4,53,4],[52,5,53,6],[52,7,53,7],[52,8,53,8],[52,9,53,9],[52,10,53,11],[52,12,53,12],[52,13,53,13],[54,0,55,0],[54,1,55,1],[54,2,55,3],[54,4,55,4],[54,5,55,6],[54,7,55,7],[54,8,55,8],[54,9,55,9],[54,10,55,11],[54,12,55,12],[54,13,55,13],[56,0,57,0],[56,1,57,1],[56,2,57,3],[56,4,57,4],[56,5,57,6],[56,7,57,7],[56,8,57,8],[56,9,57,9],[56,10,57,11],[56,12,57,12],[56,13,57,13],[58,0,59,0],[58,1,59,1],[58,2,59,3],[58,4,59,4],[58,5,59,6],[58,7,59,7],[58,8,59,8],[58,9,59,9],[58,10,59,11],[58,12,59,12],[58,13,59,13],[60,0,61,0],[60,1,61,1],[60,2,61,3],[60,4,61,4],[60,5,61,6],[60,7,61,7],[60,8,61,8],[60,9,61,9],[60,10,61,11],[60,12,61,12],[60,13,61,13],[62,0,63,0],[62,1,63,1],[62,2,63,3],[62,4,63,4],[62,5,63,6],[62,7,63,7],[62,8,63,8],[62,9,63,9],[62,10,63,11],[62,12,63,12],[62,13,63,13],[64,0,64,13],[66,3,66,13],[67,0,67,13],[68,0,68,5],[68,6,68,10],[68,11,68,13],[69,0,71,0],[69,1,71,1],[69,2,71,3],[69,4,71,4],[69,5,71,6],[69,7,71,7],[69,8,69,13],[70,8,71,8],[70,9,71,9],[70,10,70,13],[71,10,71,11],[72,0,73,0],[72,1,73,1],[72,2,73,3],[72,4,73,4],[72,5,73,6],[72,7,73,7],[72,8,73,8],[72,9,73,9],[72,10,73,11],[72,12,73,12],[72,13,73,13],[74,0,75,0],[74,1,75,1],[74,2,75,3],[74,4,75,4],[74,5,75,6],[74,7,75,7],[74,8,75,8],[74,9,75,9],[74,10,75,11],[74,12,75,12],[74,13,75,13],[76,0,77,0],[76,1,77,1],[76,2,77,3],[76,4,77,4],[76,5,77,6],[76,7,77,7],[76,8,77,8],[76,9,77,9],[76,10,77,11],[76,12,77,12],[76,13,77,13],[78,0,79,0],[78,1,79,1],[78,2,79,3],[78,4,79,4],[78,5,79,6],[78,7,79,7],[78,8,79,8],[78,9,79,9],[78,10,79,11],[78,12,79,12],[78,13,79,13],[80,0,82,0],[80,1,82,1],[80,2,82,3],[80,4,82,4],[80,5,82,6],[80,7,82,7],[80,8,82,8],[80,9,82,9],[80,10,82,11],[80,12,82,12],[80,13,82,13],[83,0,83,13],[84,3,84,13],[85,0,85,13],[86,0,86,5],[86,6,86,10],[86,11,86,13],[87,0,89,0],[87,1,89,1],[87,2,89,3],[87,4,89,4],[87,5,89,6],[87,7,89,7],[87,8,87,13],[88,8,89,8],[88,9,89,9],[88,10,88,13],[89,10,89,11],[90,0,91,0],[90,1,91,1],[90,2,91,3],[90,4,91,4],[90,5,91,6],[90,7,91,7],[90,8,91,8],[90,9,91,9],[90,10,91,11],[90,12,91,12],[90,13,91,13],[92,2,92,4],[92,5,92,6],[92,10,92,11],[93,2,93,4],[93,5,93,6],[93,10,93,11],[94,0,95,0],[94,1,95,1],[94,2,95,3],[94,4,95,4],[94,5,95,6],[94,7,95,7],[94,8,95,8],[94,9,95,9],[94,10,95,11],[94,12,95,12],[94,13,95,13],[96,2,96,3],[96,5,96,6],[96,10,96,11],[97,0,98,0],[97,1,98,1],[97,2,98,3],[97,4,98,4],[97,5,98,6],[97,7,98,7],[97,8,98,8],[97,9,98,9],[97,10,98,11],[97,12,98,12],[97,13,98,13],[99,0,100,0],[99,1,100,1],[99,2,100,3],[99,4,100,4],[99,5,100,6],[99,7,100,7],[99,8,100,8],[99,9,100,9],[99,10,100,11],[99,12,100,12],[99,13,100,13],[101,2,101,3],[101,5,101,6],[101,10,101,11],[102,2,102,3],[102,5,102,6],[102,10,102,11],[103,0,103,13],[105,3,105,13],[106,0,106,13],[107,0,107,5],[107,6,107,10],[107,11,107,13],[108,0,110,0],[108,1,110,1],[108,2,110,3],[108,4,110,4],[108,5,110,6],[108,7,110,7],[108,8,108,13],[109,8,110,8],[109,9,110,9],[109,10,109,13],[110,10,110,11],[111,2,111,3],[111,5,111,6],[111,10,111,11],[112,0,113,0],[112,1,113,1],[112,2,113,3],[112,4,113,4],[112,5,113,6],[112,7,113,7],[112,8,113,8],[112,9,113,9],[112,10,113,11],[112,12,113,12],[112,13,113,13],[114,2,114,4],[114,5,114,6],[114,10,114,11],[115,2,115,4],[115,5,115,6],[115,10,115,11],[116,0,117,0],[116,1,117,1],[116,2,117,3],[116,4,117,4],[116,5,117,6],[116,7,117,7],[116,8,117,8],[116,9,117,9],[116,10,117,11],[116,12,117,12],[116,13,117,13],[118,0,119,0],[118,1,119,1],[118,2,119,3],[118,4,119,4],[118,5,119,6],[118,7,119,7],[118,8,119,8],[118,9,119,9],[118,10,119,11],[118,12,119,12],[118,13,119,13],[120,2,120,3],[120,5,120,6],[120,10,120,11],[121,0,122,0],[121,1,122,1],[121,2,122,3],[121,4,122,4],[121,5,122,6],[121,7,122,7],[121,8,122,8],[121,9,122,9],[121,10,122,11],[121,12,122,12],[121,13,122,13],[123,2,123,4],[123,5,123,6],[123,10,123,11],[124,2,124,4],[124,5,124,6],[124,10,124,11],[125,2,125,3],[125,5,125,6],[125,10,125,11],[126,0,126,13],[128,3,128,13],[129,0,129,13],[130,0,130,5],[130,6,130,10],[130,11,130,13],[131,0,133,0],[131,1,133,1],[131,2,133,3],[131,4,133,4],[131,5,133,6],[131,7,133,7],[131,8,131,13],[132,8,133,8],[132,9,133,9],[132,10,132,13],[133,10,133,11],[134,0,135,0],[134,1,135,1],[134,2,135,3],[134,4,135,4],[134,5,135,6],[134,7,135,7],[134,8,135,8],[134,9,135,9],[134,10,135,11],[134,12,135,12],[134,13,135,13],[136,0,137,0],[136,1,137,1],[136,2,137,3],[136,4,137,4],[136,5,137,6],[136,7,137,7],[136,8,137,8],[136,9,137,9],[136,10,137,11],[136,12,137,12],[136,13,137,13],[138,2,138,4],[138,5,138,6],[138,10,138,11],[139,2,139,4],[139,5,139,6],[139,10,139,11],[140,0,141,0],[140,1,141,1],[140,2,141,3],[140,4,141,4],[140,5,141,6],[140,7,141,7],[140,8,141,8],[140,9,141,9],[140,10,141,11],[140,12,141,12],[140,13,141,13],[142,2,142,3],[142,5,142,6],[142,10,142,11],[143,0,144,0],[143,1,144,1],[143,2,144,3],[143,4,144,4],[143,5,144,6],[143,7,144,7],[143,8,144,8],[143,9,144,9],[143,10,144,11],[143,12,144,12],[143,13,144,13],[145,2,145,3],[145,5,145,6],[145,10,145,11],[146,2,146,3],[146,5,146,6],[146,10,146,11],[147,2,147,3],[147,5,147,6],[147,10,147,11],[148,2,148,3],[148,5,148,6],[148,10,148,11],[149,0,149,13],[151,3,151,13],[152,0,152,13],[153,0,153,5],[153,6,153,10],[153,11,153,13],[154,0,156,0],[154,1,156,1],[154,2,156,3],[154,4,156,4],[154,5,156,6],[154,7,156,7],[154,8,154,13],[155,8,156,8],[155,9,156,9],[155,10,155,13],[156,10,156,11],[157,2,157,3],[157,5,157,6],[157,10,157,11],[158,0,159,0],[158,1,159,1],[158,2,159,3],[158,4,159,4],[158,5,159,6],[158,7,159,7],[158,8,159,8],[158,9,159,9],[158,10,159,11],[158,12,159,12],[158,13,159,13],[160,2,160,3],[160,5,160,6],[160,10,160,11],[161,2,161,4],[161,5,161,6],[161,10,161,11],[162,2,162,3],[162,5,162,6],[162,10,162,11],[163,2,163,3],[163,5,163,6],[163,10,163,11],[164,2,164,3],[164,5,164,6],[164,10,164,11],[165,2,165,3],[165,5,165,6],[165,10,165,11],[166,2,166,3],[166,5,166,6],[166,10,166,11],[167,2,167,3],[167,5,167,6],[167,10,167,11],[168,2,168,3],[168,5,168,6],[168,10,168,11],[169,2,169,3],[169,5,169,6],[169,10,169,11],[170,2,170,3],[170,5,170,6],[170,10,170,11],[171,2,171,3],[171,5,171,6],[171,10,171,11],[172,2,172,3],[172,5,172,6],[172,10,172,11],[173,2,173,3],[173,5,173,6],[173,10,173,11],[174,2,174,3],[174,5,174,6],[174,10,174,11],[175,2,175,3],[175,5,175,6],[175,10,175,11],[176,2,176,3],[176,5,176,6],[176,10,176,11],[177,2,177,3],[177,5,177,6],[177,10,177,11],[178,2,178,3],[178,5,178,6],[178,10,178,11],[179,2,179,3],[179,5,179,6],[179,10,179,11],[180,2,180,3],[180,5,180,6],[180,10,180,11],[181,2,181,3],[181,5,181,6],[181,10,181,11],[182,2,182,3],[182,5,182,6],[182,10,182,11],[183,2,183,3],[183,5,183,6],[183,10,183,11],[184,2,184,3],[184,5,184,6],[184,10,184,11],[185,2,185,3],[185,5,185,6],[185,10,185,11],[186,0,186,13],[188,3,188,13]],"flags":["formulas_cached_only"]}
["E.1 分部分项工程量清单计价表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目装饰工程",{"$nulls":5},"标段：",{"$nulls":4},"第1页 共8页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
[null,"0111","楼地面装饰工程",{"$nulls":4},"","","73652.22","",null,"",""]
["1","011104001001","地毯楼地面",null,"1、面层材料品种、规格、颜色：纯羊毛手工编织地毯\n2、未尽事宜详见图纸、答疑及招标文件","m2",null,"122.570","567.39","69544.99","1137.45",null,"",""]
[]
["2","011105006001","金属踢脚线",null,"1、踢脚线高度：100mm\n2、面层材料品种、规格、颜色：1.0厚黑钛拉丝不锈钢\n3、未尽事宜详见图纸、答疑及招标文件","m",null,"27.660","52.69","1457.41","152.68",null,"14.38",""]
[]
["3","011102001001","石材楼地面",null,"1、结合层厚度、砂浆配合比或粘接剂种类：30厚1：2水泥砂浆\n2、面层材料品种、规格、颜色：15厚白色石英石\n3、部位：地台","m2",null,"5.940","397.23","2359.55","118.09",null,"2.67",""]
[]
["4","011102001002","石材楼地面",null,"1、结合层厚度、砂浆配合比或粘接剂种类：30厚1：2水泥砂浆\n2、面层材料品种、规格、颜色：20厚黑白根大理石\n3、部位：门槛","m2",null,"0.750","387.03","290.27","14.91",null,"0.34",""]
[]
[null,null,"分部小计",{"$nulls":4},"","","73652.22","",null,"",""]
[null,"0112","墙、柱面装饰",{"$nulls":4},"","","272805.18","",null,"",""]
["5","011201001001","墙面一般抹灰",null,"1、底层厚度、砂浆配合比：8厚抗裂砂浆+耐碱网格布\n2、部位：抹灰面贴墙布处\n3、未尽事宜详见图纸、答疑及招标文件","m2",null,"13.720","18.43","252.86","89.87",null,"3.02",""]
{"$rows_empty":7}
[{"$nulls":3},"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目装饰工程",{"$nulls":5},"标段：",{"$nulls":4},"第2页 共8页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["6","WB011207002001","墙面（轻钢）龙骨",null,"1、龙骨材料种类、规格、中距：75型轻钢龙骨\n2、部位：新增石膏板墙体\n3、未尽事宜详见图纸、答疑及招标文件","m2",null,"157.030","47.02","7383.55","887.22",null,"62.81",""]
[]
["7","WB011207003001","墙面型钢龙骨",null,"1、龙骨材料种类、规格、中距：竖向龙骨50*100*5热镀锌方钢管间距1100，横向龙骨40*40*2热镀锌方钢管间距600mm\n2、部位：背景墙\n3、未尽事宜详见图纸、答疑及招标文件","t",null,"0.979","9362.01","9165.41","1576.19",null,"339.93",""]
[]
[]
["8","WB011207002002","墙面木龙骨",null,"1、龙骨材料种类、规格、中距：30*30木龙骨，刷防火涂料三遍，防腐三度\n2、未尽事宜详见图纸、答疑及招标文件","m2",null,"16.480","47.70","786.10","195.45",null,"1.15",""]
[]
["9","WB011207004001","墙面基层",null,"1、基层材料种类、规格：15厚水泥美颜板，刷防火涂料三遍，防腐三度\n2、未尽事宜详见图纸、答疑及招标文件","m2",null,"226.970","81.91","18591.11","2480.78",null,"124.83",""]
[]
["10","WB011207004002","墙面基层",null,"1、基层材料种类、规格：岩棉，密度不小于300kg/m3\n2、未尽事宜详见图纸、答疑及招标文件","m2",null,"154.960","53.82","8339.95","418.39",null,"340.91",""]
[]
["11","011207001001","墙面装饰板",null,"1、面层材料种类、规格：12厚石膏板\n2、未尽事宜详见图纸、答疑及招标文件","m2",null,"84.770","51.12","4333.44","417.92",null,"25.43",""]
[]
[]
[]
[]
[{"$nulls":3},"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目装饰工程",{"$nulls":5},"标段：",{"$nulls":4},"第3页 共8页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["12","011207001002","墙面装饰板",null,"1、面层材料种类、规格：15厚白色微晶石（无缝处理），规格见立面图\n2、未尽事宜详见图纸、答疑及招标文件","m2",null,"34.230","493.65","16897.64","912.57",null,"17.80",""]
[]
["13","011207001003","墙面装饰板",null,"1、面层材料种类、规格：15厚白色烤漆面板\n2、环保等级E1级，防火等级见图纸\n3、未尽事宜详见图纸、答疑及招标文件","m2",null,"95.460","1049.15","100151.86","1102.56",null,"149.87",""]
[]
["14","011207001004","墙面装饰布",null,"1、面层材料品种、规格、品牌、颜色：米灰色亚麻墙布，一体式\n2、未尽事宜详见图纸、答疑及招标文件","m2",null,"13.720","182.35","2501.84","169.85",null,"30.73",""]
[]
["15","011207001005","墙面装饰布",null,"1、面层材料品种、规格、品牌、颜色：白色墙布\n2、部位：背景墙\n3、未尽事宜详见图纸、答疑及招标文件","m2",null,"29.540","182.35","5386.62","365.71",null,"66.17",""]
[]
["16","WB011209008001","干挂铝板墙面",null,"1、金属板材品种、规格、颜色：定制2.5厚穿孔铝板\n2、含铝板挂件、镂空字雕刻、建筑画的雕刻\n3、部位：背景墙\n4、未尽事宜详见图纸、答疑及招标文件","m2",null,"29.540","1127.59","33309.01","951.19",null,"4.43",""]
[]
["17","011207001006","墙面装饰板",null,"1、面层材料品种、规格、品牌、颜色：3厚白色铝板\n2、部位：背景墙\n3、未尽事宜详见图纸、答疑及招标文件","m2",null,"6.080","703.62","4278.01","117.47",null,"5.78",""]
[]
[]
[]
[{"$nulls":3},"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目装饰工程",{"$nulls":5},"标段：",{"$nulls":4},"第4页 共8页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["18","011406001001","抹灰面油漆",null,"1、内墙腻子三遍\n2、油漆品种、刷漆遍数：乳胶漆一底二面\n3、部位：内墙面\n4、未尽事宜详见图纸、答疑及招标文件","m2",null,"96.420","38.32","3694.81","941.06",null,"23.14",""]
[]
["19","011406001002","抹灰面油漆",null,"1、基层清理干净\n2、刷清油二遍\n3、部位：抹灰面贴墙布处\n4、未尽事宜详见图纸、答疑及招标文件","m2",null,"13.720","6.90","94.67","22.64",null,"0.55",""]
[]
["20","011502002001","木质装饰线",null,"1、安装部位：墙面\n2、线条材料品种、规格、颜色：40*100白色实木烤漆线条\n3、防火及环保等级见图纸\n4、未尽事宜详见图纸、答疑及招标文件","m",null,"136.980","91.91","12589.83","517.78",null,"4.11",""]
[]
["21","011502002002","木质装饰线",null,"1、安装部位：墙面\n2、线条材料品种、规格、颜色：80*100白色实木烤漆线条\n3、防火及环保等级见图纸\n4、未尽事宜详见图纸、答疑及招标文件","m",null,"247.120","103.46","25567.04","934.11",null,"7.41",""]
[]
["22","010801002001","木质门带套",null,"1、门代号及洞口尺寸：M1824\n2、白色实木烤漆套装门，带门套，含门洞上方墙面包板报价\n3、含门锁及拉手，门吸，插销\n4、环保等级E1，防火等级见图纸\n5、未尽事宜详见图纸、答疑及招标文件","樘",null,"1.000","13720.98","13720.98","278.56",null,"14.79",""]
[]
[]
[]
[{"$nulls":3},"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目装饰工程",{"$nulls":5},"标段：",{"$nulls":4},"第5页 共8页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["23","010801001001","木质门",null,"1、门代号及洞口尺寸：暗门1000*2100\n2、白色实木烤漆门\n3、环保等级E1，防火等级见图纸\n4、未尽事宜详见图纸、答疑及招标文件","m2",null,"2.100","2743.07","5760.45","129.19",null,"4.16",""]
[]
[null,null,"分部小计",{"$nulls":4},"","","272805.18","",null,"",""]
[null,"0113","天棚工程",{"$nulls":4},"","","34848.84","",null,"",""]
["24","WB011302002001","天棚吊筋",null,"1、吊顶形式、吊杆规格、高度：φ8全牙螺杆吊筋，高度详见图纸，含超高转换层\n2、安装固定方式：M8膨胀螺栓","m2",null,"122.570","9.79","1199.96","324.81",null,"26.97",""]
[]
["25","WB011302003001","天棚龙骨",null,"1、龙骨材料种类、规格、中距：50型轻钢龙骨\n2、未尽事宜详见图纸、答疑及招标文件","m2",null,"122.570","74.54","9136.37","1622.83",null,"30.64",""]
["26","WB011302003002","天棚龙骨",null,"1、龙骨材料种类、规格、中距：木龙骨30*40，刷防火涂料三遍，防腐三度，防火等级见图纸\n2、部位：灯带，集成带等加固处\n3、未尽事宜详见图纸、答疑及招标文件","m2",null,"23.820","47.70","1136.21","282.51",null,"1.67",""]
[]
["27","WB011302004001","天棚基层",null,"1、基层材料种类、规格：18厚木工板\n2、刷防火涂料三遍，防腐三度，防火等级见图纸\n3、含造型立板平板\n4、未尽事宜详见图纸、答疑及招标文件","m2",null,"84.740","95.53","8095.21","1399.90",null,"25.42",""]
[]
[]
[]
[]
[]
[{"$nulls":3},"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目装饰工程",{"$nulls":5},"标段：",{"$nulls":4},"第6页 共8页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["28","WB011302005001","天棚面层",null,"1、面层材料品种、规格：12厚石膏板\n2、未尽事宜详见图纸、答疑及招标文件","m2",null,"157.310","58.82","9252.97","1376.46",null,"39.33",""]
["29","011406001003","抹灰面油漆",null,"1、内墙腻子三遍\n2、油漆品种、刷漆遍数：乳胶漆一底二面\n3、部位：内墙面\n4、未尽事宜详见图纸、答疑及招标文件","m2",null,"157.310","38.32","6028.12","1535.35",null,"37.75",""]
[]
[null,null,"分部小计",{"$nulls":4},"","","34848.84","",null,"",""]
[null,"0115","其他装饰工程",{"$nulls":4},"","","133112.85","",null,"",""]
["30","011501020001","沙发",null,"1、材料种类、规格：布艺单人座沙发\n2、规格：1100*900*900\n3、未尽事宜详见图纸、答疑及招标文件","个",null,"18.000","3350.00","60300.00","",null,"",""]
[]
["31","011501020002","茶几",null,"1、材料种类、规格：实木茶几\n2、规格：400*600*450\n3、未尽事宜详见图纸、答疑及招标文件","个",null,"17.000","2535.00","43095.00","",null,"",""]
[]
["32","011501020003","绿值",null,"1、材料种类、规格：绿植\n2、未尽事宜详见图纸、答疑及招标文件","项",null,"1.000","3000.00","3000.00","",null,"",""]
["33","011501020004","窗帘",null,"1、材料种类、规格：窗帘\n2、是净尺寸，投标自行考虑折叠部分的面积报价。\n3、含轨道报价\n4、未尽事宜详见图纸、答疑及招标文件","m2",null,"65.970","405.00","26717.85","",null,"",""]
[]
[null,null,"分部小计",{"$nulls":4},"","","133112.85","",null,"",""]
[null,"0117","脚手架工程",{"$nulls":4},"","","2340.05","",null,"",""]
[]
[]
[]
[{"$nulls":3},"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目装饰工程",{"$nulls":5},"标段：",{"$nulls":4},"第7页 共8页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["34","011701006001","满堂脚手架",null,"1、搭设方式：投标人自行考虑\n2、脚手架材质：钢管脚手架\n3、未尽事宜详见图纸、答疑及招标文件","m2",null,"122.570","14.25","1746.62","895.99",null,"170.37",""]
[]
["35","011701003001","里脚手架",null,"1、搭设方式：投标人自行考虑\n2、脚手架材质：钢管脚手架\n3、未尽事宜详见图纸、答疑及招标文件","m2",null,"197.810","3.00","593.43","312.54",null,"31.65",""]
[]
[null,null,"分部小计",{"$nulls":4},"","","2340.05","",null,"",""]
[null,"0116","拆除工程",{"$nulls":4},"","","40448.49","",null,"",""]
["36","011606002001","墙体拆除",null,"1、墙体材质：砌体，轻质墙体，龙骨及饰面板等，投标自行考查现场报价\n2、未尽事宜详见图纸、答疑及招标文件","m2",null,"222.820","11.78","2624.82","1760.28",null,"231.73",""]
[]
["37","011610001001","门窗拆除",null,"1、材质：投标自行考查现场报价\n2、未尽事宜详见图纸、答疑及招标文件","m2",null,"4.320","10.84","46.83","36.29",null,"",""]
["38","011605001001","平面块料拆除",null,"1、拆除的基层类型：投标自行考查现场报价\n2、饰面材料种类：石材\n3、未尽事宜详见图纸、答疑及招标文件","m2",null,"0.950","16.45","15.63","12.11",null,"",""]
[]
["39","011608001001","铲除油漆面",null,"1、铲除部位名称：投标自行考查现场报价\n2、未尽事宜详见图纸、答疑及招标文件","m2",null,"22.700","5.56","126.21","97.84",null,"",""]
["40","011604002001","立面抹灰层拆除",null,"1、拆除部位：投标自行考查现场报价\n2、未尽事宜详见图纸、答疑及招标文件","m2",null,"22.700","14.97","339.82","263.55",null,"",""]
[]
[]
[]
[]
[{"$nulls":3},"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目装饰工程",{"$nulls":5},"标段：",{"$nulls":4},"第8页 共8页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["41","011606003001","天棚面龙骨及饰面拆除",null,"1、龙骨及饰面种类：投标方自行勘察现场报价\n2、未尽事宜详见图纸、答疑及招标文件","m2",null,"157.000","6.14","963.98","747.32",null,"",""]
["42","011614002001","其他拆除",null,"1、管线，灯具，开关，插座等强弱电需拆除的，家具沙发茶几，窗帘等\n2、投标方自行勘察现场报价","项",null,"1.000","3000.00","3000.00","",null,"",""]
[]
["43","WB011614004001","建筑垃圾外运",null,"1、运距：投标方自行勘察现场报价，含渣土费，堆场费等所有费用","项",null,"1.000","33331.20","33331.20","2366.00",null,"22427.50",""]
[null,null,"分部小计",{"$nulls":4},"","","40448.49","",null,"",""]
{"$rows_empty":26}
[{"$nulls":3},"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]

{"sheet":"3 附录F 措施项目清单计价表","index":2,"n_rows":43,"n_cols":9,"rows_kept":43,"merged":[[0,0,0,8],[1,0,1,3],[1,4,1,6],[1,7,1,8],[2,1,2,2],[2,3,2,4],[2,6,2,7],[3,1,3,2],[3,3,3,4],[3,6,3,7],[4,1,4,2],[4,3,4,4],[4,6,4,7],[5,1,5,2],[5,3,5,4],[5,6,5,7],[6,1,6,2],[6,3,6,4],[6,6,6,7],[7,1,7,2],[7,3,7,4],[7,6,7,7],[8,1,8,2],[8,3,8,4],[8,6,8,7],[9,1,9,2],[9,3,9,4],[9,6,9,7],[10,1,10,2],[10,3,10,4],[10,6,10,7],[11,1,11,2],[11,3,11,4],[11,6,11,7],[12,1,12,2],[12,3,12,4],[12,6,12,7],[13,1,13,2],[13,3,13,4],[13,6,13,7],[14,1,14,2],[14,3,14,4],[14,6,14,7],[15,1,15,2],[15,3,15,4],[15,6,15,7],[16,1,16,2],[16,3,16,4],[16,6,16,7],[17,1,17,2],[17,3,17,4],[17,6,17,7],[18,1,18,2],[18,3,18,4],[18,6,18,7],[19,1,19,2],[19,3,19,4],[19,6,19,7],[20,1,20,2],[20,3,20,4],[20,6,20,7],[21,1,21,2],[21,3,21,4],[21,6,21,7],[22,1,22,2],[22,3,22,4],[22,6,22,7],[23,1,23,2],[23,3,23,4],[23,6,23,7],[24,1,24,2],[24,3,24,4],[24,6,24,7],[25,1,25,2],[25,3,25,4],[25,6,25,7],[26,1,26,2],[26,3,26,4],[26,6,26,7],[27,1,27,2],[27,3,27,4],[27,6,27,7],[28,1,28,2],[28,3,28,4],[28,6,28,7],[29,1,29,2],[29,3,29,4],[29,6,29,7],[30,1,30,2],[30,3,30,4],[30,6,30,7],[31,1,31,2],[31,3,31,4],[31,6,31,7],[32,1,32,2],[32,3,32,4],[32,6,32,7],[33,1,33,2],[33,3,33,4],[33,6,33,7],[34,1,34,2],[34,3,34,4],[34,6,34,7],[35,1,35,2],[35,3,35,4],[35,6,35,7],[36,1,36,2],[36,3,36,4],[36,6,36,7],[37,1,37,2],[37,3,37,4],[37,6,37,7],[38,1,38,2],[38,3,38,4],[38,6,38,7],[39,1,39,2],[39,3,39,4],[39,6,39,7],[40,0,40,7],[42,2,42,8]],"flags":["formulas_cached_only"]}
["附录F 措施项目清单与计价表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目装饰工程",{"$nulls":3},"标段：",null,null,"第1页 共1页"]
["序号","项目编码",null,"项目名称",null,"计算基础","费率（%）",null,"金额（元）"]
["1","ZC-01",null,"夜间施工增加费",null,"51232.86","0.500",null,"256.16"]
["2","ZC-02",null,"二次搬运费",null,"51232.86","1.200",null,"614.79"]
["3","ZC-03",null,"冬雨季施工增加费",null,"51232.86","0.700",null,"358.63"]
["4","ZC-04",null,"已完工程及设备保护费",null,"51232.86","0.500",null,"256.16"]
["5","ZC-05",null,"工程定位复测费",null,"51232.86","0.800",null,"409.86"]
["6","ZC-06",null,"非夜间施工照明费",null,"51232.86","0.400",null,"204.93"]
["7","ZC-07",null,"临时保护设施费",null,"51232.86","0.100",null,"51.23"]
["8","ZC-08",null,"赶工措施费",null,"51232.86","",null,""]
{"$rows_empty":29}
["合   计",{"$nulls":7},"2151.76"]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]

{"sheet":"4 附录G 不可竞争项目清单与计价表","index":3,"n_rows":43,"n_cols":9,"rows_kept":43,"merged":[[0,0,0,8],[1,0,1,3],[1,4,1,6],[1,7,1,8],[2,1,2,2],[2,3,2,4],[2,6,2,7],[3,1,3,2],[3,3,3,4],[3,6,3,7],[4,1,4,2],[4,3,4,4],[4,6,4,7],[5,1,5,2],[5,3,5,4],[5,6,5,7],[6,1,6,2],[6,3,6,4],[6,6,6,7],[7,1,7,2],[7,3,7,4],[7,6,7,7],[8,1,8,2],[8,3,8,4],[8,6,8,7],[9,1,9,2],[9,3,9,4],[9,6,9,7],[10,1,10,2],[10,3,10,4],[10,6,10,7],[11,1,11,2],[11,3,11,4],[11,6,11,7],[12,1,12,2],[12,3,12,4],[12,6,12,7],[13,1,13,2],[13,3,13,4],[13,6,13,7],[14,1,14,2],[14,3,14,4],[14,6,14,7],[15,1,15,2],[15,3,15,4],[15,6,15,7],[16,1,16,2],[16,3,16,4],[16,6,16,7],[17,1,17,2],[17,3,17,4],[17,6,17,7],[18,1,18,2],[18,3,18,4],[18,6,18,7],[19,1,19,2],[19,3,19,4],[19,6,19,7],[20,1,20,2],[20,3,20,4],[20,6,20,7],[21,1,21,2],[21,3,21,4],[21,6,21,7],[22,1,22,2],[22,3,22,4],[22,6,22,7],[23,1,23,2],[23,3,23,4],[23,6,23,7],[24,1,24,2],[24,3,24,4],[24,6,24,7],[25,1,25,2],[25,3,25,4],[25,6,25,7],[26,1,26,2],[26,3,26,4],[26,6,26,7],[27,1,27,2],[27,3,27,4],[27,6,27,7],[28,1,28,2],[28,3,28,4],[28,6,28,7],[29,1,29,2],[29,3,29,4],[29,6,29,7],[30,1,30,2],[30,3,30,4],[30,6,30,7],[31,1,31,2],[31,3,31,4],[31,6,31,7],[32,1,32,2],[32,3,32,4],[32,6,32,7],[33,1,33,2],[33,3,33,4],[33,6,33,7],[34,1,34,2],[34,3,34,4],[34,6,34,7],[35,1,35,2],[35,3,35,4],[35,6,35,7],[36,1,36,2],[36,3,36,4],[36,6,36,7],[37,1,37,2],[37,3,37,4],[37,6,37,7],[38,1,38,2],[38,3,38,4],[38,6,38,7],[39,1,39,2],[39,3,39,4],[39,6,39,7],[40,0,40,7],[42,2,42,8]],"flags":["formulas_cached_only"]}
["附录G 不可竞争项目清单与计价表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目装饰工程",{"$nulls":3},"标段：",null,null,"第1页 共1页"]
["序号","项目编码",null,"项目名称",null,"计算基数","费率（%）",null,"金额（元）"]
["1","ZF-01",null,"环境保护费",null,"51232.86","1.000",null,"512.33"]
["2","ZF-02",null,"文明施工费",null,"51232.86","3.600",null,"1844.38"]
["3","ZF-03",null,"安全施工费",null,"51232.86","3.100",null,"1588.22"]
["4","ZF-04",null,"临时设施费",null,"51232.86","5.800",null,"2971.51"]
["5","ZF-05",null,"工程排污费",null,"0","",null,""]
{"$rows_empty":32}
["合   计",{"$nulls":7},"6916.44"]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]

{"sheet":"5 H.1 其他项目清单与计价汇总表","index":4,"n_rows":43,"n_cols":6,"rows_kept":43,"merged":[[0,0,0,5],[1,0,1,2],[1,3,1,4],[2,1,2,3],[2,4,2,5],[3,1,3,3],[3,4,3,5],[4,1,4,3],[4,4,4,5],[5,1,5,3],[5,4,5,5],[6,1,6,3],[6,4,6,5],[7,1,7,3],[7,4,7,5],[8,1,8,3],[8,4,8,5],[9,1,9,3],[9,4,9,5],[10,1,10,3],[10,4,10,5],[11,1,11,3],[11,4,11,5],[12,1,12,3],[12,4,12,5],[13,1,13,3],[13,4,13,5],[14,1,14,3],[14,4,14,5],[15,1,15,3],[15,4,15,5],[16,1,16,3],[16,4,16,5],[17,1,17,3],[17,4,17,5],[18,1,18,3],[18,4,18,5],[19,1,19,3],[19,4,19,5],[20,1,20,3],[20,4,20,5],[21,1,21,3],[21,4,21,5],[22,1,22,3],[22,4,22,5],[23,1,23,3],[23,4,23,5],[24,1,24,3],[24,4,24,5],[25,1,25,3],[25,4,25,5],[26,1,26,3],[26,4,26,5],[27,1,27,3],[27,4,27,5],[28,1,28,3],[28,4,28,5],[29,1,29,3],[29,4,29,5],[30,1,30,3],[30,4,30,5],[31,1,31,3],[31,4,31,5],[32,1,32,3],[32,4,32,5],[33,1,33,3],[33,4,33,5],[34,1,34,3],[34,4,34,5],[35,1,35,3],[35,4,35,5],[36,1,36,3],[36,4,36,5],[37,1,37,3],[37,4,37,5],[38,1,38,3],[38,4,38,5],[39,1,39,3],[39,4,39,5],[40,0,40,3],[40,4,40,5],[42,2,42,5]],"flags":["formulas_cached_only"]}
["H.1 其他项目清单与计价汇总表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目装饰工程",null,null,"标段：",null,"第1页 共1页"]
["序号","项目名称",null,null,"金额(元)"]
["1","暂列金额",null,null,""]
["2","专业工程暂估价",null,null,""]
["3","计日工",null,null,""]
["4","总承包服务费",null,null,""]
{"$rows_empty":33}
["合  计",{"$nulls":3},""]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]

{"sheet":"6 H.2 暂列金额明细表","index":5,"n_rows":44,"n_cols":8,"rows_kept":44,"merged":[[0,0,0,7],[1,0,1,3],[1,4,1,5],[1,6,1,7],[2,1,2,2],[2,3,2,4],[2,5,2,6],[3,1,3,2],[3,3,3,4],[3,5,3,6],[4,1,4,2],[4,3,4,4],[4,5,4,6],[5,1,5,2],[5,3,5,4],[5,5,5,6],[6,1,6,2],[6,3,6,4],[6,5,6,6],[7,1,7,2],[7,3,7,4],[7,5,7,6],[8,1,8,2],[8,3,8,4],[8,5,8,6],[9,1,9,2],[9,3,9,4],[9,5,9,6],[10,1,10,2],[10,3,10,4],[10,5,10,6],[11,1,11,2],[11,3,11,4],[11,5,11,6],[12,1,12,2],[12,3,12,4],[12,5,12,6],[13,1,13,2],[13,3,13,4],[13,5,13,6],[14,1,14,2],[14,3,14,4],[14,5,14,6],[15,1,15,2],[15,3,15,4],[15,5,15,6],[16,1,16,2],[16,3,16,4],[16,5,16,6],[17,1,17,2],[17,3,17,4],[17,5,17,6],[18,1,18,2],[18,3,18,4],[18,5,18,6],[19,1,19,2],[19,3,19,4],[19,5,19,6],[20,1,20,2],[20,3,20,4],[20,5,20,6],[21,1,21,2],[21,3,21,4],[21,5,21,6],[22,1,22,2],[22,3,22,4],[22,5,22,6],[23,1,23,2],[23,3,23,4],[23,5,23,6],[24,1,24,2],[24,3,24,4],[24,5,24,6],[25,1,25,2],[25,3,25,4],[25,5,25,6],[26,1,26,2],[26,3,26,4],[26,5,26,6],[27,1,27,2],[27,3,27,4],[27,5,27,6],[28,1,28,2],[28,3,28,4],[28,5,28,6],[29,1,29,2],[29,3,29,4],[29,5,29,6],[30,1,30,2],[30,3,30,4],[30,5,30,6],[31,1,31,2],[31,3,31,4],[31,5,31,6],[32,1,32,2],[32,3,32,4],[32,5,32,6],[33,1,33,2],[33,3,33,4],[33,5,33,6],[34,1,34,2],[34,3,34,4],[34,5,34,6],[35,1,35,2],[35,3,35,4],[35,5,35,6],[36,1,36,2],[36,3,36,4],[36,5,36,6],[37,1,37,2],[37,3,37,4],[37,5,37,6],[38,1,38,2],[38,3,38,4],[38,5,38,6],[40,0,40,4],[40,5,40,6],[42,2,42,7],[43,0,43,7]],"flags":["formulas_cached_only"]}
["H.2 暂列金额明细表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目装饰工程",{"$nulls":3},"标段：",null,"第1页 共1页"]
["序号","项目名称",null,"计量单位",null,"暂定金额(元)",null,"备注"]
{"$rows_empty":37}
["合  计",{"$nulls":4},""]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["说明：此表由招标人填写，如不能详列，也可只列暂定金额总额，投款人应将上述暂列金额计入投标总价中。"]

{"sheet":"7 H.3 专业工程暂估价计价表","index":6,"n_rows":44,"n_cols":8,"rows_kept":44,"merged":[[0,0,0,7],[1,0,1,3],[1,4,1,5],[1,6,1,7],[2,1,2,2],[2,3,2,4],[2,5,2,6],[3,1,3,2],[3,3,3,4],[3,5,3,6],[4,1,4,2],[4,3,4,4],[4,5,4,6],[5,1,5,2],[5,3,5,4],[5,5,5,6],[6,1,6,2],[6,3,6,4],[6,5,6,6],[7,1,7,2],[7,3,7,4],[7,5,7,6],[8,1,8,2],[8,3,8,4],[8,5,8,6],[9,1,9,2],[9,3,9,4],[9,5,9,6],[10,1,10,2],[10,3,10,4],[10,5,10,6],[11,1,11,2],[11,3,11,4],[11,5,11,6],[12,1,12,2],[12,3,12,4],[12,5,12,6],[13,1,13,2],[13,3,13,4],[13,5,13,6],[14,1,14,2],[14,3,14,4],[14,5,14,6],[15,1,15,2],[15,3,15,4],[15,5,15,6],[16,1,16,2],[16,3,16,4],[16,5,16,6],[17,1,17,2],[17,3,17,4],[17,5,17,6],[18,1,18,2],[18,3,18,4],[18,5,18,6],[19,1,19,2],[19,3,19,4],[19,5,19,6],[20,1,20,2],[20,3,20,4],[20,5,20,6],[21,1,21,2],[21,3,21,4],[21,5,21,6],[22,1,22,2],[22,3,22,4],[22,5,22,6],[23,1,23,2],[23,3,23,4],[23,5,23,6],[24,1,24,2],[24,3,24,4],[24,5,24,6],[25,1,25,2],[25,3,25,4],[25,5,25,6],[26,1,26,2],[26,3,26,4],[26,5,26,6],[27,1,27,2],[27,3,27,4],[27,5,27,6],[28,1,28,2],[28,3,28,4],[28,5,28,6],[29,1,29,2],[29,3,29,4],[29,5,29,6],[30,1,30,2],[30,3,30,4],[30,5,30,6],[31,1,31,2],[31,3,31,4],[31,5,31,6],[32,1,32,2],[32,3,32,4],[32,5,32,6],[33,1,33,2],[33,3,33,4],[33,5,33,6],[34,1,34,2],[34,3,34,4],[34,5,34,6],[35,1,35,2],[35,3,35,4],[35,5,35,6],[36,1,36,2],[36,3,36,4],[36,5,36,6],[37,1,37,2],[37,3,37,4],[37,5,37,6],[38,1,38,2],[38,3,38,4],[38,5,38,6],[40,0,40,4],[40,5,40,6],[42,2,42,7],[43,0,43,7]],"flags":["formulas_cached_only"]}
["H.3 专业工程暂估价计价表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目装饰工程",{"$nulls":3},"标段：",null,"第1页 共1页"]
["序号","工程名称",null,"工程内容",null,"金额(元)",null,"备注"]
{"$rows_empty":37}
["合  计",{"$nulls":4},""]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["说明：此表中“金额”由招标人填写。投标时，投标人应按招标人所列金额计入投标总价中。结算时按合同约定结算金额填写。"]

{"sheet":"8 H.4 计日工表","index":7,"n_rows":44,"n_cols":9,"rows_kept":44,"merged":[[0,0,0,8],[1,0,1,3],[1,4,1,6],[1,7,1,8],[2,1,2,2],[2,3,2,4],[2,6,2,7],[3,1,3,2],[3,3,3,4],[3,6,3,7],[4,0,4,7],[5,1,5,2],[5,3,5,4],[5,6,5,7],[6,0,6,7],[7,1,7,2],[7,3,7,4],[7,6,7,7],[8,0,8,7],[9,1,9,2],[9,3,9,4],[9,6,9,7],[10,1,10,2],[10,3,10,4],[10,6,10,7],[11,1,11,2],[11,3,11,4],[11,6,11,7],[12,1,12,2],[12,3,12,4],[12,6,12,7],[13,1,13,2],[13,3,13,4],[13,6,13,7],[14,1,14,2],[14,3,14,4],[14,6,14,7],[15,1,15,2],[15,3,15,4],[15,6,15,7],[16,1,16,2],[16,3,16,4],[16,6,16,7],[17,1,17,2],[17,3,17,4],[17,6,17,7],[18,1,18,2],[18,3,18,4],[18,6,18,7],[19,1,19,2],[19,3,19,4],[19,6,19,7],[20,1,20,2],[20,3,20,4],[20,6,20,7],[21,1,21,2],[21,3,21,4],[21,6,21,7],[22,1,22,2],[22,3,22,4],[22,6,22,7],[23,1,23,2],[23,3,23,4],[23,6,23,7],[24,1,24,2],[24,3,24,4],[24,6,24,7],[25,1,25,2],[25,3,25,4],[25,6,25,7],[26,1,26,2],[26,3,26,4],[26,6,26,7],[27,1,27,2],[27,3,27,4],[27,6,27,7],[28,1,28,2],[28,3,28,4],[28,6,28,7],[29,1,29,2],[29,3,29,4],[29,6,29,7],[30,1,30,2],[30,3,30,4],[30,6,30,7],[31,1,31,2],[31,3,31,4],[31,6,31,7],[32,1,32,2],[32,3,32,4],[32,6,32,7],[33,1,33,2],[33,3,33,4],[33,6,33,7],[34,1,34,2],[34,3,34,4],[34,6,34,7],[35,1,35,2],[35,3,35,4],[35,6,35,7],[36,1,36,2],[36,3,36,4],[36,6,36,7],[37,1,37,2],[37,3,37,4],[37,6,37,7],[38,1,38,2],[38,3,38,4],[38,6,38,7],[40,0,40,7],[42,2,42,8],[43,0,43,8]],"flags":["formulas_cached_only"]}
["H.4 计日工表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目装饰工程",{"$nulls":3},"标段：",null,null,"第1页 共1页"]
["编码","项目名称",null,"单位",null,"数量","综合单价",null,"合价（元）"]
["一","人工",{"$nulls":3},"","",null,""]
["人工费小计",{"$nulls":7},""]
["二","材料",{"$nulls":3},"","",null,""]
["材料费小计",{"$nulls":7},""]
["三","施工机械",{"$nulls":3},"","",null,""]
["施工机械费小计",{"$nulls":7},""]
{"$rows_empty":31}
["合     计",{"$nulls":7},""]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["说明：此表项目名称、数量由招标人填写，编制最高投标限价时，综合单价由招标人按有关计价规定确定；投标时，综合单价由投标人自主报价，按招标人所列数量计算合价计入投标总价中。结算时，按发承包双方确认的实际数量计算。"]

{"sheet":"9 H.5 总承包服务费计价表","index":8,"n_rows":43,"n_cols":9,"rows_kept":43,"merged":[[0,0,0,8],[1,0,1,3],[1,4,1,6],[1,7,1,8],[2,1,2,2],[2,3,2,4],[2,6,2,7],[3,1,3,2],[3,3,3,4],[3,6,3,7],[4,1,4,2],[4,3,4,4],[4,6,4,7],[5,1,5,2],[5,3,5,4],[5,6,5,7],[6,1,6,2],[6,3,6,4],[6,6,6,7],[7,1,7,2],[7,3,7,4],[7,6,7,7],[8,1,8,2],[8,3,8,4],[8,6,8,7],[9,1,9,2],[9,3,9,4],[9,6,9,7],[10,1,10,2],[10,3,10,4],[10,6,10,7],[11,1,11,2],[11,3,11,4],[11,6,11,7],[12,1,12,2],[12,3,12,4],[12,6,12,7],[13,1,13,2],[13,3,13,4],[13,6,13,7],[14,1,14,2],[14,3,14,4],[14,6,14,7],[15,1,15,2],[15,3,15,4],[15,6,15,7],[16,1,16,2],[16,3,16,4],[16,6,16,7],[17,1,17,2],[17,3,17,4],[17,6,17,7],[18,1,18,2],[18,3,18,4],[18,6,18,7],[19,1,19,2],[19,3,19,4],[19,6,19,7],[20,1,20,2],[20,3,20,4],[20,6,20,7],[21,1,21,2],[21,3,21,4],[21,6,21,7],[22,1,22,2],[22,3,22,4],[22,6,22,7],[23,1,23,2],[23,3,23,4],[23,6,23,7],[24,1,24,2],[24,3,24,4],[24,6,24,7],[25,1,25,2],[25,3,25,4],[25,6,25,7],[26,1,26,2],[26,3,26,4],[26,6,26,7],[27,1,27,2],[27,3,27,4],[27,6,27,7],[28,1,28,2],[28,3,28,4],[28,6,28,7],[29,1,29,2],[29,3,29,4],[29,6,29,7],[30,1,30,2],[30,3,30,4],[30,6,30,7],[31,1,31,2],[31,3,31,4],[31,6,31,7],[32,1,32,2],[32,3,32,4],[32,6,32,7],[33,1,33,2],[33,3,33,4],[33,6,33,7],[34,1,34,2],[34,3,34,4],[34,6,34,7],[35,1,35,2],[35,3,35,4],[35,6,35,7],[36,1,36,2],[36,3,36,4],[36,6,36,7],[37,1,37,2],[37,3,37,4],[37,6,37,7],[38,1,38,2],[38,3,38,4],[38,6,38,7],[39,1,39,2],[39,3,39,4],[39,6,39,7],[40,0,40,7],[42,2,42,8]],"flags":["formulas_cached_only"]}
["H.5 总承包服务费计价表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目装饰工程",{"$nulls":3},"标段：",null,null,"第1页 共1页"]
["序号","工程名称",null,"项目价值(元)",null,"服务内容","费率(％)",null,"金额(元)"]
["1","发包人发包专业工程",null,"",null,null,"100.000",null,""]
["2","发包人供应材料",null,"",null,null,"100.000",null,""]
{"$rows_empty":35}
["合  计",{"$nulls":7},""]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]

{"sheet":"10 附录I 税金计价表","index":9,"n_rows":44,"n_cols":9,"rows_kept":44,"merged":[[0,0,0,8],[1,0,1,3],[1,4,1,5],[1,6,1,8],[2,1,2,2],[2,3,2,4],[2,5,2,6],[3,1,3,2],[3,3,3,4],[3,5,3,6],[4,1,4,2],[4,3,4,4],[4,5,4,6],[5,1,5,2],[5,3,5,4],[5,5,5,6],[6,1,6,2],[6,3,6,4],[6,5,6,6],[7,1,7,2],[7,3,7,4],[7,5,7,6],[8,1,8,2],[8,3,8,4],[8,5,8,6],[9,1,9,2],[9,3,9,4],[9,5,9,6],[10,1,10,2],[10,3,10,4],[10,5,10,6],[11,1,11,2],[11,3,11,4],[11,5,11,6],[12,1,12,2],[12,3,12,4],[12,5,12,6],[13,1,13,2],[13,3,13,4],[13,5,13,6],[14,1,14,2],[14,3,14,4],[14,5,14,6],[15,1,15,2],[15,3,15,4],[15,5,15,6],[16,1,16,2],[16,3,16,4],[16,5,16,6],[17,1,17,2],[17,3,17,4],[17,5,17,6],[18,1,18,2],[18,3,18,4],[18,5,18,6],[19,1,19,2],[19,3,19,4],[19,5,19,6],[20,1,20,2],[20,3,20,4],[20,5,20,6],[21,1,21,2],[21,3,21,4],[21,5,21,6],[22,1,22,2],[22,3,22,4],[22,5,22,6],[23,1,23,2],[23,3,23,4],[23,5,23,6],[24,1,24,2],[24,3,24,4],[24,5,24,6],[25,1,25,2],[25,3,25,4],[25,5,25,6],[26,1,26,2],[26,3,26,4],[26,5,26,6],[27,1,27,2],[27,3,27,4],[27,5,27,6],[28,1,28,2],[28,3,28,4],[28,5,28,6],[29,1,29,2],[29,3,29,4],[29,5,29,6],[30,1,30,2],[30,3,30,4],[30,5,30,6],[31,1,31,2],[31,3,31,4],[31,5,31,6],[32,1,32,2],[32,3,32,4],[32,5,32,6],[33,1,33,2],[33,3,33,4],[33,5,33,6],[34,1,34,2],[34,3,34,4],[34,5,34,6],[35,1,35,2],[35,3,35,4],[35,5,35,6],[36,1,36,2],[36,3,36,4],[36,5,36,6],[37,1,37,2],[37,3,37,4],[37,5,37,6],[38,1,38,2],[38,3,38,4],[38,5,38,6],[39,1,39,2],[39,3,39,4],[39,5,39,6],[41,0,41,7],[43,2,43,8]],"flags":["formulas_cached_only"]}
["附录I 税金计价表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目装饰工程",{"$nulls":3},"标段：",null,"第1页 共1页"]
["序号","项目名称",null,"计算基础",null,"计算基数",null,"费率(％)","金额(元)"]
["1","增值税",null,"分部分项工程费+措施项目费+不可竞争费+其他项目费",null,"566275.83",null,"9.000","50964.82"]
{"$rows_empty":37}
["合  计",{"$nulls":7},"50964.82"]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]

{"sheet":"11 J.1 材料（工程设备）暂估单价一览表","index":10,"n_rows":45,"n_cols":8,"rows_kept":45,"merged":[[0,0,0,7],[1,0,1,2],[1,3,1,5],[1,6,1,7],[2,1,2,3],[2,5,2,6],[3,1,3,3],[3,5,3,6],[4,1,4,3],[4,5,4,6],[5,1,5,3],[5,5,5,6],[6,1,6,3],[6,5,6,6],[7,1,7,3],[7,5,7,6],[8,1,8,3],[8,5,8,6],[9,1,9,3],[9,5,9,6],[10,1,10,3],[10,5,10,6],[11,1,11,3],[11,5,11,6],[12,1,12,3],[12,5,12,6],[13,1,13,3],[13,5,13,6],[14,1,14,3],[14,5,14,6],[15,1,15,3],[15,5,15,6],[16,1,16,3],[16,5,16,6],[17,1,17,3],[17,5,17,6],[18,1,18,3],[18,5,18,6],[19,1,19,3],[19,5,19,6],[20,1,20,3],[20,5,20,6],[21,1,21,3],[21,5,21,6],[22,1,22,3],[22,5,22,6],[23,1,23,3],[23,5,23,6],[24,1,24,3],[24,5,24,6],[25,1,25,3],[25,5,25,6],[26,1,26,3],[26,5,26,6],[27,1,27,3],[27,5,27,6],[28,1,28,3],[28,5,28,6],[29,1,29,3],[29,5,29,6],[30,1,30,3],[30,5,30,6],[31,1,31,3],[31,5,31,6],[32,1,32,3],[32,5,32,6],[33,1,33,3],[33,5,33,6],[34,1,34,3],[34,5,34,6],[35,1,35,3],[35,5,35,6],[36,1,36,3],[36,5,36,6],[37,1,37,3],[37,5,37,6],[38,1,38,3],[38,5,38,6],[39,1,39,3],[39,5,39,6],[40,1,40,3],[40,5,40,6],[41,0,41,7],[43,2,43,7],[44,0,44,7]],"flags":["formulas_cached_only"]}
["J.1 材料（工程设备）暂估单价一览表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目装饰工程",null,null,"标段：",null,null,"第1页 共1页"]
["序号","材料(工程设备)名称、规格、型号",null,null,"计量单位","数量",null,"单价(元)"]
{"$rows_empty":40}
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["说明：此表由招标人填写，投标人应将上述材料（工程设备）暂估单价计入工程量清单综合单价报价中。"]

{"sheet":"12 J.2 发包人提供材料（工程设备）一览表","index":11,"n_rows":45,"n_cols":10,"rows_kept":45,"merged":[[0,0,0,9],[1,0,1,3],[1,4,1,7],[1,8,1,9],[2,1,2,2],[2,3,2,4],[2,7,2,8],[3,1,3,2],[3,3,3,4],[3,7,3,8],[4,1,4,2],[4,3,4,4],[4,7,4,8],[5,1,5,2],[5,3,5,4],[5,7,5,8],[6,1,6,2],[6,3,6,4],[6,7,6,8],[7,1,7,2],[7,3,7,4],[7,7,7,8],[8,1,8,2],[8,3,8,4],[8,7,8,8],[9,1,9,2],[9,3,9,4],[9,7,9,8],[10,1,10,2],[10,3,10,4],[10,7,10,8],[11,1,11,2],[11,3,11,4],[11,7,11,8],[12,1,12,2],[12,3,12,4],[12,7,12,8],[13,1,13,2],[13,3,13,4],[13,7,13,8],[14,1,14,2],[14,3,14,4],[14,7,14,8],[15,1,15,2],[15,3,15,4],[15,7,15,8],[16,1,16,2],[16,3,16,4],[16,7,16,8],[17,1,17,2],[17,3,17,4],[17,7,17,8],[18,1,18,2],[18,3,18,4],[18,7,18,8],[19,1,19,2],[19,3,19,4],[19,7,19,8],[20,1,20,2],[20,3,20,4],[20,7,20,8],[21,1,21,2],[21,3,21,4],[21,7,21,8],[22,1,22,2],[22,3,22,4],[22,7,22,8],[23,1,23,2],[23,3,23,4],[23,7,23,8],[24,1,24,2],[24,3,24,4],[24,7,24,8],[25,1,25,2],[25,3,25,4],[25,7,25,8],[26,1,26,2],[26,3,26,4],[26,7,26,8],[27,1,27,2],[27,3,27,4],[27,7,27,8],[28,1,28,2],[28,3,28,4],[28,7,28,8],[29,1,29,2],[29,3,29,4],[29,7,29,8],[30,1,30,2],[30,3,30,4],[30,7,30,8],[31,1,31,2],[31,3,31,4],[31,7,31,8],[32,1,32,2],[32,3,32,4],[32,7,32,8],[33,1,33,2],[33,3,33,4],[33,7,33,8],[34,1,34,2],[34,3,34,4],[34,7,34,8],[35,1,35,2],[35,3,35,4],[35,7,35,8],[36,1,36,2],[36,3,36,4],[36,7,36,8],[37,1,37,2],[37,3,37,4],[37,7,37,8],[38,1,38,2],[38,3,38,4],[38,7,38,8],[39,1,39,2],[39,3,39,4],[39,7,39,8],[40,1,40,2],[40,3,40,4],[40,7,40,8],[41,0,41,9],[43,2,43,9],[44,0,44,9]],"flags":["formulas_cached_only"]}
["J.2 发包人提供材料（工程设备）一览表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目装饰工程",{"$nulls":3},"标段：",{"$nulls":3},"第1页 共1页"]
["序号","材料(工程设备)名称、规格、型号",null,"计量单位",null,"数量","单价(元)","合价(元)",null,"备注"]
{"$rows_empty":40}
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["说明：此表由招标人填写，供投标人在投标报价、确定总承包服务费时参考。"]

{"sheet":"13 J.3 承包人提供材料（工程设备）一览表","index":12,"n_rows":44,"n_cols":11,"rows_kept":44,"merged":[[0,0,0,10],[1,0,1,4],[1,5,1,7],[1,8,1,10],[2,1,2,2],[2,4,2,5],[2,7,2,8],[3,1,3,2],[3,4,3,5],[3,7,3,8],[4,1,4,2],[4,4,4,5],[4,7,4,8],[5,1,5,2],[5,4,5,5],[5,7,5,8],[6,1,6,2],[6,4,6,5],[6,7,6,8],[7,1,7,2],[7,4,7,5],[7,7,7,8],[8,1,8,2],[8,4,8,5],[8,7,8,8],[9,1,9,2],[9,4,9,5],[9,7,9,8],[10,1,10,2],[10,4,10,5],[10,7,10,8],[11,1,11,2],[11,4,11,5],[11,7,11,8],[12,1,12,2],[12,4,12,5],[12,7,12,8],[13,1,13,2],[13,4,13,5],[13,7,13,8],[14,1,14,2],[14,4,14,5],[14,7,14,8],[15,1,15,2],[15,4,15,5],[15,7,15,8],[16,1,16,2],[16,4,16,5],[16,7,16,8],[17,1,17,2],[17,4,17,5],[17,7,17,8],[18,1,18,2],[18,4,18,5],[18,7,18,8],[19,1,19,2],[19,4,19,5],[19,7,19,8],[20,1,20,2],[20,4,20,5],[20,7,20,8],[21,1,21,2],[21,4,21,5],[21,7,21,8],[22,1,22,2],[22,4,22,5],[22,7,22,8],[23,1,23,2],[23,4,23,5],[23,7,23,8],[24,1,24,2],[24,4,24,5],[24,7,24,8],[25,1,25,2],[25,4,25,5],[25,7,25,8],[26,1,26,2],[26,4,26,5],[26,7,26,8],[27,1,27,2],[27,4,27,5],[27,7,27,8],[28,1,28,2],[28,4,28,5],[28,7,28,8],[29,1,29,2],[29,4,29,5],[29,7,29,8],[30,1,30,2],[30,4,30,5],[30,7,30,8],[31,1,31,2],[31,4,31,5],[31,7,31,8],[32,1,32,2],[32,4,32,5],[32,7,32,8],[33,1,33,2],[33,4,33,5],[33,7,33,8],[34,1,34,2],[34,4,34,5],[34,7,34,8],[35,1,35,2],[35,4,35,5],[35,7,35,8],[36,1,36,2],[36,4,36,5],[36,7,36,8],[37,1,37,2],[37,4,37,5],[37,7,37,8],[38,1,38,2],[38,4,38,5],[38,7,38,8],[39,1,39,2],[39,4,39,5],[39,7,39,8],[40,0,40,10],[42,2,42,10],[43,0,43,10]],"flags":["formulas_cached_only"]}
["J.3 承包人提供材料（工程设备）一览表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目装饰工程",{"$nulls":4},"标段：",null,null,"第1页 共1页"]
["序号","材料（工程设备）名称、规格、型号",null,"计量单位","数量",null,"风险系数(%)","基准单价",null,"投标单价","备注"]
{"$rows_empty":39}
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["说明：1.此表由投标人在投标时自主确定投标单价，其他内容由招标人填写。\n   2.招标人应优先采用工程造价管理机构发布的单价作为基准单价，未发布的，通过市场调查确定其基准单价。"]