{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["报价单"],"not_rendered":{"defined_names":1},"read":"whole","date_system":"1900"}

{"sheet":"报价单","index":0,"n_rows":198,"n_cols":8,"rows_kept":198,"merged":[[0,0,0,7],[196,0,196,5],[197,0,197,7]]}
["报价单"]
["序号","物料名称","规格","单位","数量","单价（元）","总价（元）","备注"]
[1,"感应电笔",null,"支",2,null,null,"德力西、公牛、正泰"]
[2,"三脚插头","16A","个",20,null,null,"德力西、公牛、正泰"]
[3,"三相四线插头","16A 440v","个",10,null,null,"德力西、公牛、正泰"]
[4,"三相四线插座","16A 440v","个",10,null,null,"德力西、公牛、正泰 "]
[5,"单开关",null,"个",20,null,null,"德力西、公牛、正泰"]
[6,"双开关",null,"个",20,null,null,"德力西、公牛、正泰"]
[7,"三开关",null,"个",20,null,null,"德力西、公牛、正泰"]
[8,"电工胶带",null,"卷",50,null,null,"德力西、公牛、正泰"]
[9,"LED嵌入式射灯","5w  41093 6500K 日光灯色","只",60,null,null,"飞利浦、欧普、雷士"]
[10,"三眼插头","10A","个",60,null,null,"德力西、公牛、正泰"]
[11,"LED平板灯（扣板式）","60*60","个",150,null,null,"德力西、公牛、正泰"]
[12,"高压绝缘手套",null,"双",10,null,null,"双安、易佳安电、盟泰"]
[13,"明盒（明装接线盒）","86A","个",60,null,null,"德力西、公牛、正泰"]
[14,"电缆线","3*2.5mm","米",100,null,null,"国标"]
[15,"电缆线","3*4mm","米",100,null,null,"国标"]
[16,"单芯电线","2.5mm2","米",100,null,null,"国标，红色"]
[17,"单芯电线","2.5mm2","米",100,null,null,"国标，黄色"]
[18,"单芯电线","2.5mm2","米",100,null,null,"国标，绿色"]
[19,"电缆线","4*6+1*2.5mm2","米",100,null,null,"国标，"]
[20,"电缆线","2*1.5mm2","米",100,null,null,"国标，"]
[21,"五眼插板","10A","只",50,null,null,"德力西、公牛、正泰"]
[22,"五眼插板（带开关）","10A","只",50,null,null,"德力西、公牛、正泰"]
[23,"三眼插板","16A","只",30,null,null,"德力西、公牛、正泰"]
[24,"时控开关","KG316T/10A","只",40,null,null,"德力西、公牛、正泰"]
[25,"断路器","2P  32A","个",50,null,null,"德力西、公牛、正泰，带漏保"]
[26,"断路器","2P  25A","个",50,null,null,"德力西、公牛、正泰，带漏保"]
[27,"断路器","2P  40A","个",50,null,null,"德力西、公牛、正泰，带漏保"]
[28,"断路器","1P16A","只",50,null,null,"德力西、公牛、正泰"]
[29,"断路器","4p/40A","个",25,null,null,"德力西、公牛、正泰"]
[30,"PVC过线槽","PVC/方形","根",50,null,null,"通用型"]
[31,"PVC过线槽","PVC/圆形","根",50,null,null,"通用型"]
[32,"泛光灯","400W","套",20,null,null,"亚明、飞利浦、欧司朗"]
[33,"泛光灯","200W","套",25,null,null,"亚明、飞利浦、欧司朗"]
[34,"直管金卤灯","400w","套",40,null,null,"亚明、飞利浦、欧司朗"]
[35,"LED螺口灯泡","30w/50w","只",30,null,null,"飞利浦、欧普、雷士"]
[36,"LED螺口灯泡","9w","只",50,null,null,"飞利浦、欧普、雷士"]
[37,"断路器","4P/60A","只",20,null,null,"德力西、公牛、正泰"]
[38,"换气扇","300mm12寸","只",10,null,null,"正禾，海尔、美的"]
[39,"LED面板灯","5寸/15W","个",100,null,null,"超薄型"]
[40,"LED面板灯","6寸/18W","个",200,null,null,"超薄型"]
[41,"LED面板灯","8寸/22W","个",80,null,null,"超薄型"]
[42,"T5-LED自启灯管","1.2m,16W","只",80,null,null,"飞利浦、欧普、雷士、含灯脚"]
[43,"T8-LED自启灯管","1.2m，16W","只",80,null,null,"飞利浦、欧普、雷士、含灯脚"]
[44,"T5-LED自启灯管","06m,8W","只",60,null,null,"飞利浦、欧普、雷士、含灯脚"]
[45,"熔断器","RO15 ☬10*38 500v 6A","盒",30,null,null,"上海沪工、明威、立熔"]
[46,"多用途泛光灯","RVP350","个",10,null,null,"飞利浦、欧普、雷士"]
[47,"PVC电管","☬25","根",50,null,null,"带25关卡"]
[48,"绑扎带","20/30/40厘米","袋",15,null,null,"各5袋"]
[49,"路灯灯泡","40W 6000K 4200lm 196mA 220-240V ac 50/60Hz 15D","只",80,null,null,"飞利浦、欧普、雷士"]
[50,"裁纸刀",null,"把",10,null,null,"通用型"]
[51,"LED吸顶灯","18w φ175x25mm","个",120,null,null,"海洱诺 飞利浦、欧普"]
[52,"钻石三代系列LED筒灯","6寸 20W Φ165mm","只",100,null,null," 白色 佛山照明 飞利浦、欧普"]
[53,"冲击钻头","￠6","个",5,null,null,"方大王、绿林、汉斯"]
[54,"冲击钻头","8mm","根",5,null,null,"方大王、绿林、汉斯"]
[55,"冲击钻头","10mm","只",5,null,null,"方大王、绿林、汉斯"]
[56,"冲击钻头","12mm","只",5,null,null,"方大王、绿林、汉斯"]
[57,"冲击钻头","14mm","只",5,null,null,"方大王、绿林、汉斯"]
[58,"麻花钻头","3mm","根",30,null,null,"方大王、绿林、汉斯"]
[59,"麻花钻头","4mm","个",30,null,null,"方大王、绿林、汉斯"]
[60,"麻花钻头","5.2mm","根",30,null,null,"方大王、绿林、汉斯"]
[61,"麻花钻头","￠6","根",30,null,null,"方大王、绿林、汉斯"]
[62,"麻花钻头","￠8","根",30,null,null,"方大王、绿林、汉斯"]
[63,"打瓷砖钻头","￠6","个",30,null,null,"方大王、绿林、汉斯"]
[64,"打瓷砖钻头","8mm","个",30,null,null,"方大王、绿林、汉斯"]
[65,"不锈钢钻头","4mm","个",20,null,null,"方大王、绿林、汉斯"]
[66,"不锈钢麻花钻头","10mm","个",10,null,null,"方大王、绿林、汉斯"]
[67,"砂纸抛光片",null,"片",20,null,null,"通用型"]
[68,"砂轮切割片","金属DN100","片",10,null,null,"通用型"]
[69,"砂轮切割片","DN100","片",30,null,null,"通用型"]
[70,"金属切割片","25个/盒","盒",3,null,null,"通用型"]
[71,"大理石切割片",null,"个",10,null,null,"通用型"]
[72,"乳胶漆",null,"桶",4,null,null,"立邦、菱湖、多乐士"]
[73,"耐水砂纸","NO:600","张",50,null,null,"通用型"]
[74,"小滚筒","10cm","个",20,null,null,"通用型"]
[75,"滚筒","8寸","个",20,null,null,"通用型"]
[76,"美工刀片",null,"盒",20,null,null,"通用型"]
[77,"美工刀架",null,"个",20,null,null,"通用型"]
[78,"毛刷","三寸","个",20,null,null,"通用型"]
[79,"毛刷","四寸","个",20,null,null,"通用型"]
[80,"毛刷","五寸","个",20,null,null,"通用型"]
[81,"油漆刷","4寸","把",20,null,null,"通用型"]
[82,"油漆刷","5 寸","把",20,null,null,"通用型"]
[83,"橡胶手套",null,"副",100,null,null,"粤龙、快乐娃、同富"]
[84,"机油","20#或40#","Kg",5,null,null,"通用型"]
[85,"堵漏王",null,"袋",20,null,null,"东方雨虹、牛元、立邦"]
[86,"防水涂料",null,"桶",5,null,null,"建秀、东方雨虹、嘉宝莉"]
[87,"水泥","50㎏ ","袋",20,null,null,"通用型"]
[88,"云石胶",null,"桶",20,null,null,"三和、大力士、雷神"]
[89,"油漆稀释剂","2.5公斤","瓶",2,null,null,"通用型"]
[90,"除锈剂","450L","箱",4,null,null,"通用型"]
[91,"清洗剂","450L","瓶",100,null,null,"通用型"]
[92,"纱手套",null,"副",200,null,null,"通用型"]
[93,"洗衣粉","500g/袋","袋",100,null,null,"雕牌、白猫、汰渍"]
[94,"洗洁精",null,"瓶",60,null,null,"亿民、白猫、汰渍"]
[95,"液态密封胶",null,"支",20,null,null,"三和、东方雨虹、千里马"]
[96,"三和结构胶","透明","瓶",40,null,null,"三和、东方雨虹、千里马"]
[97,"三和结构胶","黑色","瓶",40,null,null,"三和、东方雨虹、千里马"]
[98,"耐候胶",null,"支",5,null,null,"三和、东方雨虹、千里马"]
[99,"玻璃胶",null,"瓶",50,null,null,"三和、东方雨虹、千里马"]
[100,"三角阀","DN15","个",50,null,null,"埃美柯、中宇、九牧王"]
[101,"三角阀","JD-410","个",20,null,null,"埃美柯、中宇、九牧王"]
[102,"浮球阀","DN50","个",5,null,null,"通用型"]
[103,"截止阀","DN15","只",30,null,null,"埃美柯、中宇、九牧王"]
[104,"铜截止阀","DN20","个",30,null,null,"埃美柯、中宇、九牧王"]
[105,"止回阀","DN150","个",10,null,null,"根据现场图片，满足现场使用需求"]
[106,"循环水止回阀","国标 DN150/21.5","个",10,null,null,"根据现场图片，满足现场使用需求"]
[107,"蝶阀D373H-16","DN100","只",5,null,null,"根据现场图片，满足现场使用需求"]
[108,"单流阀","￠200*24.5","只",10,null,null,"根据现场图片，满足现场使用需求"]
[109,"浮球开关",null,"个",10,null,null,"5米，通用型"]
[110,"旋翼干式数字水表","DN15/XLS-E","个",5,null,null,"铜头，通用型"]
[111,"橡胶软接头【不锈钢】","DN200","个",5,null,null,"根据现场图片，满足现场使用需求"]
[112,"橡胶软接头","DN80","个",5,null,null,"根据现场图片，满足现场使用需求"]
[113,"橡胶软接头","DN100","个",5,null,null,"根据现场图片，满足现场使用需求"]
[114,"不锈钢橡胶接头","Φ160","个",5,null,null,"根据现场图片，满足现场使用需求"]
[115,"外丝直接","DN20","个",20,null,null,"通用型"]
[116,"铜外丝直接","DN20","个",30,null,null,"通用型"]
[117,"上水软管","DN15*50","根",50,null,null,"通用型"]
[118,"下水软管",null,"个",150,null,null,"通用型"]
[119,"不锈钢编织进水软管","4分*60cm","根",100,null,null,"通用型"]
[120,"水龙头",null,"个",50,null,null,"通用型"]
[121,"水龙头","DN15加长款","个",50,null,null,"通用型"]
[122,"按压式水龙头","DN15","个",50,null,null,"通用型"]
[123,"面盆下水器",null,"个",100,null,null,"通用型"]
[124,"U-PVS直角弯头","￠20","根",20,null,null,"通用型"]
[125,"U-PVS外丝直接","￠20*15","只",20,null,null,"通用型"]
[126,"U-PVS内丝直接","￠20","个",50,null,null,"通用型"]
[127,"U-PVS内丝直接","￠20*15","只",20,null,null,"通用型"]
[128,"U-PVC外丝接头","DN20","个",20,null,null,"通用型"]
[129,"镀锌堵头","DN15","个",10,null,null,"通用型"]
[130,"接头","DN100","套",5,null,null,"通用型"]
[131,"卡箍","DN100","只",20,null,null,"通用型"]
[132,"金属管卡","DN50","只",10,null,null,"通用型"]
[133,"管道抱箍","DN80","个",10,null,null,"通用型"]
[134,"抱箍","DN65","个",5,null,null,"通用型"]
[135,"不锈钢管","DN25*6m","根",10,null,null,"通用型"]
[136,"不锈钢地漏盖","15CM","个",30,null,null,"通用型"]
[137,"不锈钢地漏","100*100","个",100,null,null,"通用型"]
[138,"地漏盖","8CM","个",30,null,null,"通用型"]
[139,"PVC-地漏盖","15CM","个",40,null,null,"通用型"]
[140,"文件柜锁",null,"个",50,null,null,"通用型"]
[141,"普通门锁","执手锁","把",50,null,null,"通用型"]
[142,"防火门锁芯",null,"只",150,null,null,"通用型"]
[143,"防火门锁",null,"把",30,null,null,"通用型"]
[144,"地弹门锁",null,"个",60,null,null,"通用型"]
[145,"玻璃门锁",null,"个",50,null,null,"通用型"]
[146,"抽屉锁",null,"把",50,null,null,"通用型"]
[147,"自攻螺丝","4*40","盒",4,null,null,"通用型"]
[148,"螺丝螺帽","8*50","套",30,null,null,"通用型"]
[149,"螺帽垫片弹垫","M6","个",20,null,null,"通用型"]
[150,"螺杆螺帽垫片","6*60","套",50,null,null,"通用型"]
[151,"螺杆螺帽垫片","5*50","套",50,null,null,"通用型"]
[152,"六角螺栓","8*30","套",50,null,null,"通用型"]
[153,"铰链","综合一批","个",10,null,null,"通用型"]
[154,"黑色自攻螺丝","3.5mm*25mm","盒",10,null,null,"通用型"]
[155,"不锈钢螺丝",null,"套",100,null,null,"通用型"]
[156,"不锈钢铰链","4寸（综合一批）","付",40,null,null,"通用型"]
[157,"不锈钢角码","（综合一批）","个",100,null,null,"通用型"]
[158,"不锈钢焊条","￠2.5","盒",2,null,null,"通用型"]
[159,"不锈钢插销","700mm／35*35*29","个",20,null,null,"通用型"]
[160,"不锈钢表弯",null,"只",5,null,null,"通用型"]
[161,"玻璃门配件","综合一批","个",20,null,null,"通用型"]
[162,"22＃扎丝",null,"公斤",5,null,null,"通用型"]
[163,"万象轮","DN150","个",5,null,null,"向荣6寸"]
[164,"铁丝","14#","斤",64,null,null,"通用型"]
[165,"磁吸工作灯","10000mah","只",3,null,null,"10000mah/双磁铁+双挂钩/续航10-200小时/五档泛光灯功能/充电宝功能"]
[166,"电动扳手","10-27mm（加长套筒）","套",1,null,null,"东成DCPB1288H2K(2电一充，20V-6.0AH*2,800W,最大拆卸扭矩1700N.M;含套筒）"]
[167,"钢卷尺","5米","个",5,null,null,"得力、3M、汉斯"]
[168,"钢卷尺","10M","个",3,null,null,"得力、3M、汉斯"]
[169,"钢锯条",null,"个",50,null,null,"通用型"]
[170,"管钳","12寸","把",3,null,null,"通用型"]
[171,"充电电池","5200mAh","个",3,null,null,"通用型"]
[172,"水平仪","16线","台",1,null,null,"德力西、亚固、东成"]
[173,"草坪喷头","I-25专用型","个",20,null,null,"雨鸟、Hunter、托罗"]
[174,"六类网线","CAT6","米",610,null,null,"爱谱华顿、山泽、绿联"]
[175,"软护套信号线","RVV2*1.0","米",400,null,null,"爱谱华顿、山泽、绿联"]
[176,"POE电源适配器","48V0.5A 线插","个",5,null,null,"小耳朵，海康、TP"]
[177,"POE电源适配器","24V1A 线插","个",5,null,null,"小耳朵，海康、TP"]
[178,"POE电源适配器","12V2A 线插","个",5,null,null,"小耳朵，海康、TP"]
[179,"电池","5号","节",100,null,null,"南孚、超霸、双鹿"]
[180,"电池","9V方块","节",10,null,null,"南孚、超霸、双鹿"]
[181,"电池","7号","节",20,null,null,"南孚、超霸、双鹿"]
[182,"电池","12V23A","节",20,null,null,"南孚、超霸、双鹿"]
[183,"汇聚交换机","S5735S-H24S4XC","台",1,null,null,"华为、H3C、锐捷，包含安装调试"]
[184,"24口交换机","S5735S-S24T4S-XA","台",11,null,null,"华为、H3C、锐捷，包含安装调试"]
[185,"LC光模块","MXP-243S-H3C\n1250Mbps-10Km-1310nm-SM-SFP","个",15,null,null,"华为、H3C、锐捷，包含安装调试"]
[186,"PDU","8口、过载保护","个",15,null,null,"公牛、得力、绿联，包含安装调试"]
[187,"LC-FC跳线","单模双芯、3M","根",15,null,null,"绿联、山泽、海康，包含安装调试"]
[188,"电源适配器","5V0.4A，光纤收发器电源","个",10,null,null,"TP-LINK、海康、小儿耳朵"]
[189,"强光手电","L6-R5-8W+5200毫安电池(双电池）","个",1,null,null,"神火、天火、飞利浦"]
[190,"网络打线刀","工程级NW252","个",1,null,null,"绿联、山泽、普联"]
[191,"六类千兆网络模块","CAT6","个",20,null,null,"绿联、山泽、普联"]
[192,"六角燕尾螺丝钉","4.8*30","个",100,null,null,"通用型"]
[193,"智能数字万用表","UT123D","台",1,null,null,"优利德、正泰、得力"]
[194,"移动音响","ST-1509 15寸","台",2,null,null,"先科（SAST）、漫步者、索爱"]
["总计（元）"]
["备注：\n1、请开具增值税专用发票，并标注开票税率（ ）%；\n2、报价包含但不限于运输、安装、质保等费用，质保期至少12个月；\n3、技术参数要求请联系李工18305513725。                                                                                                                                                         报价单位（盖章）：                        联系方式："]